Policy:

The Harborview Medical Center Transfusion Service has established processes and procedures for result reporting and other post-analytical practices that support clinical requirements, and comply with regulatory requirements and good laboratory practice.

Purpose:

To provide direction for the processes and procedures to ensure that laboratory results are reported in a manner that supports good patient care, and that complies with regulatory requirements.

| Role | Responsibilities |
| --- | --- |
| Medical Director | - Select report format. - Determine report mechanisms (e.g. paper, electronic, telephone). - Ensure the interpretation, correlation, and effective communication of laboratory information. - Provide direct notification and consultation to clinicians and/or patients on selected cases. |
| Manager | - Develop and update the report mechanisms. |
| Laboratory Personnel | - Enter Laboratory results - Provide results by telephone where indicated. - Notify appropriate individuals of critically abnormal results. |

| Process Element | Process Control | Supporting Documents |
| --- | --- | --- |
| Release of results | - Review and authorization - Verbal release of results via read-back and documentation. - Electronic release of results | Reporting Laboratory Results by Verbal Notification |
| Scope of reporting | - Normal, abnormal, and critical results - Entering interpretive comments - Entering data into Sunquest LIS - Issuing Corrected results - Identifying criteria for results that are not reported. | - Reporting Results by Verbal Notification - UW Lab Medicine Policy: Calling Critical Values - SQ Blood Order Processing Overview |
| Retention of patient samples | - All patient samples are retained ≥ 40 days post transfusion. | Sample Management Process |
| Report format | - The content and format of laboratory reports are developed in consultation with customer to ensure that reports support patient care needs. |  |
| Access to results | - Note: See QSE Information Management | - QSE: Information Management |
| Retention of reports | - Copies of results are maintained in accordance with regulatory requirements, either electronically or in hard copy. | - QSE: Documents and Records |
| Critical results | - Critical value intervals have been established in accordance with published information and good laboratory practices. | - Reporting Laboratory Results by Verbal notification. - Table A: Critical Values |
| Turnaround Times | - TSL has established acceptable turnaround times for each laboratory test priority, in consultation with physicians, customers, and other stakeholders. - Customers are notified of delays if the delay may have clinical implications. | - Table B: Turnaround Times |
| Corrected reports | - UW Laboratory Medicine Administration has established processes and procedures to ensure that corrected or altered reports are clearly identified and comply with regulations. They ensure the following: - The original result is not deleted or made illegible. - The corrected result is clearly identified. - The time and date of the correction is captured. - The identity of the person making the correction is captured. | - Lab Med administration policy on correcting results (I have to look this one up) |

Table A:  Critical Values

| 1. | - Wrong ABO type of red cells issued to a patient. |
| --- | --- |
| 2. | - Different ABO type on current patient sample, compared to historical type. |
| 3. | - Suspected Transfusion Reaction Investigation that indicates acute hemolytic transfusion reaction or potentially life threatening non-hemolytic transfusion reaction. |
| 4. | - Uncrossmatched red cells transfused and found to be incompatible on retrospective crossmatch. |
| 5. | - Patient with positive antibody screen, in need of emergent transfusion. |
| 6. | - Historical records indicating the need for washed cells/anaphylactic reactions to blood components. |

Table B:  Turnaround Time Expectations

| Priority | Test | Expected Turnaround Time |
| --- | --- | --- |
| Emergency Stat | - Emergency Release Red Cells and Thawed Plasma | - 5 minutes |
| Stat | - Type and Screen/Type and Crossmatch | - 50 minutes |
| Stat | - Thawed Plasma | - 20 minutes |
| Stat | - Cryoprecipitate | - 10 minutes |
| Stat | - Platelets | - 10 minutes |
| Routine | - Type and Screen/Type and Crossmatch | - 4 hours |

References

UW Lab Medicine Administrative Policy Manual

AABB Standards for Blood Banks and Transfusion Services, Current Edition.