Policy:

The Harborview Medical Center Transfusion Service has established processes and procedures that comply with applicable standards and regulatory requirements for the creation, control, and archiving of time-sensitive and critical laboratory documents and records.

Purpose:

To provide direction for the processes and procedures:

- To create and control documents and records so that all documents are in standard formats.

- To create and control documents and records so that all authorized users only work from current documents.

- To archive documents and records in such a manner that access is only by authorized personnel.

| Role | Responsibilities |
| --- | --- |
| Medical Director | - Approve the contents of controlled documents. - Ensure that document control systems are established, and meet regulatory requirements. |
| Laboratory Manager | - Create of supervise the creation of controlled documents. - Review and approve validation of documents before use. |
| Laboratory Personnel | - Follow documented processes, procedures, and instructions as written, without personal deviations. |
| Document Author | - Follow documented processes, procedures, and instructions as written, without personal deviations. - Develop and revise controlled documents. |

| Process Element | Process Control | Related Documents |
| --- | --- | --- |
| Controlled Documents | - Are created, reviewed, and approved by authorized personnel before release. - A Master Document Index is maintained to identify the current valid revisions, and their distribution. - Only currently authorized versions of appropriate documents are available for active use. - Are uniquely identified. Such identification complies with regulatory requirements and good laboratory practice. | Master Document Index |
| Document Review | - Documents are periodically reviewed, revised when necessary, and approved by authorized personnel before implementation. - Review of documents is defined in the formal document control process. | Document Control Process |
| Invalid or Obsolete Documents | - Invalid or obsolete documents are promptly removed from all sites of use. - Retained or archived superseded documents are appropriately identified to prevent their inadvertent use. |  |
| Changes to Documents | A formal means of making revisions to documents has been developed to ensure that: - Only authorized changes are made to approved documents. - All changes are reviewed and approved before use. - All copies of the document in use reflect the change. |  |
| Access to Results | - Note: See QSE Information Management |  |
| Retention of Reports | - Copies of results are maintained in accordance with regulatory requirements, either electronically or in hard copy. | Quality Policy: Records Retention |
| Corrected Reports | - The UW Laboratory Medicine Department has established processes and procedures to ensure that corrected or altered reports are clearly identified and comply with regulations. They ensure the following: - The original results is not deleted or made illegible. - The corrected result is learly identified. - The time and date of the correction is captured. - As defined, the attending physician is directly notified of the correction. | UW Laboratory Medicine Administrative Manual |

References:

AABB Standards for Blood Banks and Transfusion Services, Current Edition