UW Medicine - Pathology

6000-02-04-23

Toluidine Blue for Mast Cells

Adopted Date: 8/6/2013 Review Date: Revision Date:

PURPOSE

The demonstration of mast cell in tissue using Toluidine Blue staining.

SCOPE

For all histotechnician and histotechnologist.

PROCEDURE

Fixation:

10% NBF

Sectioning:

Cut paraffin sections at 4 micron

Quality control:

A section containing mast cells

Solutions:

Toluidine Blue Solutions

Toluidine blue …….0.1 g

Distilled water……. 100.0 ml

Procedure:

- Deparaffinize sections and hydrate to distilled water.

- Stain sections in toluidine blue solution for 10 minutes.

- Rinse in distilled water.

- Quickly dehydrate through 95% and 100% alcohols.

- Clear in xylene and mount slides.

Results:

Mast cells…..deep violet

Background……blue

REFERENCES:

Histotechnology   A Self-Instructional Text by Frieda L. Carson

pp. 163-164

RELATED DOCUMENT

APPENDIX

Written By:					Director's approval:

_______________________	             _______________________