Instrument Identification: Timer-Clock

Manufacturer: Control Company

Model: \_\_\_\_\_\_\_\_\_\_\_

S/N: \_\_\_\_\_\_\_\_\_\_\_\_

Accuracy: 0.001% (Traceable to NIST)

Standards/Equipment:

Traceable Audio Time Signals call to

The Direct Comparison Method was used testing the timer vs. \_\_\_\_\_\_\_\_\_\_\_\_

Calibration Procedure: NIST recommended practice guide Stopwatch and Timer Calibrations

**Calibration Data:**

Laboratory Temperature: \_\_\_\_° F

|  |  |  |  |
| --- | --- | --- | --- |
| Start Time |  |  |  |
| End Time |  |  |  |
| Total Time |  |  |  |
| Time on Timer at Completion |  |  |  |

Performed by: \_\_\_\_\_\_\_\_\_\_

Calibration Date:\_\_\_\_\_\_\_\_\_\_\_\_

Calibration Due:\_\_\_\_\_\_\_\_\_\_\_\_\_\_