* **Attach a copy of this form to each Downtime Component Processing Worksheet.**
* **Check off each step as it is performed to ensure accurate data entry.**

|  |  |  |  |
| --- | --- | --- | --- |
| **🗸** | **Step** | **Tech ID** | **Date** |
|  | Perform BBI to ascertain 7.1 unit status:* If unit is in TSL, bring it to your bench.
* If unit if unavailable, use BCP labels for recovery
 |  |  |
|  | Using BCP Worksheet and/or Unit Label:* Open BCP
* Perform processing:
* Select **appropriate 7.1** process
	+ For divided plasma, this will not be the same as the 6.3 process was in the past
* **Change date and time**.
* **Add TECH ID** of downtime processing tech.
* Scan unit number and Original Product Code
* Retrieve SQ generated Hematrax label.
* Compare to product and BCP labels.
 |  |  |
|  | Perform BLC.Perform Manual Label Verification by 2nd tech, if indicated. |  |  |
|  | Label product, if available. **OR**Put label on back of BCP if product unavailable. |  |  |
|  | Complete Computer Recovery Entry on BCP worksheet. |  |  |
|  | Place in NEEDS REVIEW box. **OR** Staple to Patient paperwork for allocation, issue and/or return. |  |  |

**F5711,** *Version 1.0, December, 2013.*