Downtime Refrigerator/Freezer Daily QC Log

Reason Log Implemented: ___________________________________________________________

Equipment Name/ID:                                             .

Temperature (C)

| DATE | DIGITAL TEMP | CHART TEMP | UPPER TEMP | LOWER TEMP | TECH ID | ALARM TEST | CHANGE CHART | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Acceptable Temperature Range: Refrigerators: 1-6C, Plasma Freezers – 18C, Tissue Freezers: Less than – 65C

Temperature readings must agree within +/- 2 degrees.

Comments:                                                                                                                                                                      .

.

Reviewed By:                                                                                      Date:                                 .