Manual Storage Unit Temperature Log

Record Monthly Temp Trak Comparisons and Manual Temperature Readings

| Equipment Number | Date/Time | TempTrak |  | Internal Thermometers |  | Digital Temp | Agree within 2oC? Y/N | Tech ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Upper | Lower | Upper | Lower |  |  |  |

Acceptable Temperature Ranges:  Refrigerators 1 °C – 6 °C, Plasma Component Freezers  ≤  -18 °C.  Tissue Freezers:   ≤ -65 °C, Reagent Storage 2 – 8 °C

Comments/Corrective Action:

Reviewed by:                                                                                                    Date:                                  .