**Digital Timer and Stopwatch Validation Form**

Instrument Identification: \_\_\_\_\_\_\_\_\_\_\_\_\_\_

Manufacturer: \_\_\_\_\_\_\_\_\_\_\_

Model: \_\_\_\_\_\_\_\_\_\_\_

S/N: \_\_\_\_\_\_\_\_\_\_\_\_

Accuracy: 0.001% (Traceable to NIST)

Standards/Equipment:

The Direct Comparison Method was used testing the timer against the Traceable Audio Time Signals based in \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ calling # \_\_\_\_\_\_\_\_\_\_\_\_

Validation Procedure: Digital Timer and Stopwatch Validation

**Validation Data:**

Laboratory Temperature: \_\_\_\_° C

|  |  |  |  |
| --- | --- | --- | --- |
| Start Time |  |  |  |
| End Time |  |  |  |
| Total Time |  |  |  |
| Time on Timer at Completion |  |  |  |
| Set Time Interval | 2 minutes | 15 minutes | 5 hours |

Performed by: \_\_\_\_\_\_\_\_\_\_

Validation Date:\_\_\_\_\_\_\_\_\_\_\_\_\_

Validation Due:\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Transfusion Service Manager or Designee Date