Purpose:

To provide instructions for evaluation and acceptance of patient samples for testing in the Transfusion Service at HMC.

Policy:

All patient samples sent for testing to the HMC Transfusion Service will be evaluated for acceptance using the criteria described in this policy, to include sample type, volume and condition; compliance with labeling requirements, and comparison to existing patient computer records.  Failure to meet all requirements will result in rejection of the sample, and request for redraw.  Any deviations for specific protocols or collections will be defined in the applicable process SOP.

Procedure:

| Step | Action | Related Documents |
| --- | --- | --- |
| 1. | - Check Sample Tube Type for acceptability: - Pink top EDTA tube –Preferred sample - Lavender top EDTA tube—Acceptable sample - Red top CLOT tube—Acceptable for manual testing only. - See Appendix A for acceptability of capillary and/or microtubes for pediatric patients - NOTE: NO OTHER TUBE TYPES ARE ACCEPTABLE | Table A: Specimen Requirements |
| 2. | - Check Sample Volume. - Volume for routine testing should be ≥ 3ml. - See Table A for sample volume requirements - Samples from patients with a high hematocrit will need to have the plasma volume evaluated. - All samples that are <3ml will be spun and evaluated for plasma volume adequacy. | Table A: Sample Requirements |
| 3. | - Check Sample against accompanying request the Transfusion Services Testing and Blood Product Order Form, which MUST accompany the sample, otherwise the sample is rejected. - Minimum requirements: - Verify patient full name. - Verify patient hospital identification (HID) number. - Verify tube has draw date including year. - Verify tube has draw time indicated. - Verify two signatures on tube and paperwork. - Verify date of birth - Exception: Samples must have been drawn at HMC, and Medic samples will not be accepted for testing. - Exception: Samples drawn for non-transfusion testing may not meet above minimum requirements. See specific SOP(s) for exceptions. | - Transfusion Services Testing and Blood Product Order Form - CPOE generated test requisition - Prenatal Clinic Sample Process |
| Step | Action | Related Documents |
| 4. | Verify Patient Identifiers - With the exception of the presence of a patient’s middle name or initial, the following patient identifiers must match exactly on sample label, requisition/order, and computer record: - Patient’s first name, last name, and generational title. - Medical Record Number (MRN) - Date of Birth - Presence of a middle name or initial: - If the middle name or initial is present on one document, either must be present on all documents. - It is acceptable to have a middle name on one and only a middle initial on the other, providing the middle name begins with the same letter used for the middle initial. For example: Requisition/SQ record; Patient Sample; Acceptability. Center, Harbor Medical; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; =; Center, Harbor M.; Acceptable. Center, Harbor M.; =; Center, Harbor Medical; Acceptable. Center, Harbor M.; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor; Unacceptable. Center, Harbor Medical; ≠; Center, Harbor T.; Unacceptable. | - Transfusion Services Testing and Blood Product Order Form - HMC Admin Policy: Administration of Blood Products for Adults - CPOE generated test requisition - Prenatal Clinic Sample Process |
| 5. | - Verify Sample Draw Date and Time - Draw date on specimen and requisition must include the month, day and year. - Draw Time on sample and requisition must be in reasonable agreement. - Verify Sample Draw Date - Draw date on specimen and requisition must include the month, day and year. - Sample must have ABO/Rh completed within 48 hours of draw. Subsequent testing must be within 3 days of draw, with draw day being day 0. - Note: Qualifying Preadmission samples may be tested up to 14 days. | - Transfusion Services Testing and Blood Product Order Form - Preadmission Requests for Blood Products - CPOE generated test requisition - Prenatal Clinic Sample Process |
| 6. | - Verify Signatures - Two different signatures on tube and on Requisition or CPOE Order form. - Both signatures are from two different licensed personnel | - Transfusion Services Testing and Blood Product Order Form - CPOE generated test requisition - Prenatal Clinic Sample Process |
| Step | Action | Related Documents |
| 7. | - In addition, the Request should include the following information: - Diagnosis and/or purpose of testing. - Ordering physician. - Sample draw time. - Tests and Products ordered. | - Transfusion Services Testing and Blood Product Order Form - CPOE generated test requisition - Prenatal Clinic Sample Process |
| 8. | - The sample is rejected if: - The tube and the paperwork are not clearly labeled (no information missing, incorrect, and illegible) or do not contain the following: - Medical record number, including “H” - Signatures of two different licensed clinicians - Date and time drawn, including year. (Time may be indicated on the sample by circling Date of Service on the ORCA label.) - The sample must be labeled AT THE PATIENT”S BEDSIDE. BOTH Signers must be present when it is drawn. Otherwise it is rejected and a new sample required. | - Sample Rejection - Transfusion Services Testing and Blood Product Order Form - CPOE generated test requisition - Prenatal Clinic Sample Process |
| 9. | - The request, sample label, and computer must then be compared. - If there is a discrepancy between the three, it is TS responsibility to investigate and resolve before acceptance for testing. - An example: The patient’s name/MRN on a sample does not match the computer at the time tests/components are ordered. - Ask the nurse to read and verify the patient’s name/MRN as it appears on the armband. - If the armband is discrepant from the request and sample label, the sample must be rejected. - Ask the nurse to draw a new confirmation sample. |  |
| 10. | - Errors in patient identification information that are discovered after the sample has been tested require a new, correctly labeled specimen to be sent as a confirmation specimen (e.g. the spelling of the patient name is changed). - Any testing that has been done on the mislabeled sample will be credited and the results canceled. | Canceling Orders and Correcting Results in Sunquest |
| 11. | - Check sample for hemolysis. - Note: Sample with visible hemolysis will be processed at the manual bench. | - Sample Rejection |
| Step | Action | Related Documents |
| 12. | - Check sample for lipemia. - Note: Samples with moderate to gross lipemia will be processed at the manual bench. | - Sample Rejection |
| 13. | - Check sample for contamination. - Note: Samples contaminated with saline or diluted specimens are unacceptable for testing. |  |

Table A: TSL Specimen Requirements:

For Type and Screen/Type and Crossmatch

| Patient Age and/or Weight | Specimen Size |
| --- | --- |
| <10 kg (< 1 year old) | 2 EDTA lavender or plain red top microtubes OR ≥ 2ml in a 3ml EDTA lavender top tube |
| 10-19 kg (1-6 years old) | 1 3ml EDTA lavender top tube |
| ≥ 20 kg (>6 years old) | 1 6ml EDTA pink or lavender top tube 1 6-10ml red top tube, plain |

For ABRH, DAT, and/or ABRH2 Testing:  Reduced sample volume is acceptable

| Patient Age and/or Weight | Specimen Size |
| --- | --- |
| <20 kg (≤ 6 year old) | In addition to the above table, Capillary tubes are acceptable. |
| > 20 kg (>6 years old) | 1 3-6ml EDTA pink or lavender top tube 1 6-10ml red top tube, plain |

References:

Standards for Blood Banks and Transfusion Services, Current Edition, Bethesda, MD:

American Association of Blood Banks.

Roback J (ed). Technical Manual, 16th Edition. AABB Press, Bethesda, MD. 2008