

 Monthly Temperature Validation Log for Blood Storage Devices

*Record Monthly Temp Trak Comparisons and Manual Temperature Readings*

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Equipment****Number** | **Date/Time** |  **TempTrak** | **Internal** **Thermometers**  | **Digital Temp** | **Agree within 2oC?****Y/N** | **Tech ID** |
| **Upper** | **Lower** | **Upper** | **Lower** |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |

**Acceptable Temperature Ranges: Refrigerators 1 C – 6 C, Plasma Component Freezers ≤ -18 C. Tissue Freezers: ≤ -65 C, Reagent Storage 2 – 8 C. Platelet Incubator 20-24C**

|  |
| --- |
| Comments/Corrective Action: |
|  |
|  |
|  |
|  |

**Reviewed by:**  **Date:** .