## Slide 1: PREVI ISOLA: Has been in use since October 17, 2011

## Slide 2: Inoculation of plates

## Slide 3: Inoculation of Plates
0.01mL of urine is pipetted onto each plate, so each colony = 100/mL
A comb consisting of 17 “loops” streaks the urine around in a circle
Low and high probability contamination urines will be set up on Previ unless QNS

## Slide 4: Reading plates
Ignore the center 5 “rings” of growth
Look for growth in each quadrant
Special “readers” will be used

## Slide 5: Reading plates

## Slide 6: Reading plates

## Slide 7: Reading plates
Do not read plates marked with an “X”
  Something went wrong during set up – no inoculum, no pipet tip, etc.
  Can be misread as No Growth

## Slide 8: Reading plates

## Slide 9: Reading plates
Whenever you report a heavy colony count (60,000-100,000 CFU/mL or >100,000 CFU/mL), there must be heavy growth in the center rings that are ignored
When in doubt, count the number of colonies and multiply by 100 – then select the colony count range to report.

## Slide 10: Reading plates
If you are able to count the colonies, it should not be reported as 60,000-100,000 CFU/mL or >100,000 CFU/mL
If you see one or two colonies in a quadrant, that is not enough growth to report – so default to the next lower quadrant
If you see one or more skipped quadrants with growth in later quadrants – default to the lowest quadrant with growth

## Slide 11: Reporting: high probability contamination specimens
High probability contamination urines will be reported using ranges of colony counts
Report colony count as one of four ranges

## Slide 12: Reporting: high probability contamination specimens
Quadrant | Colony Count | LIS Code
1 & 2 | <10,000 CFU/mL | L10K
3 | 10,000-50,000 CFU/mL | TTF
4 | 60,000-100,000 CFU/mL | SXTH
5, 6, 7, & 8 | >100,000 CFU/mL | G100K

## Slide 13: Reporting: low probability contamination specimens
Low probability contamination urines will be reported by counting each colony and multiplying by 100
For colony counts <1,000, report an actual colony count rounded to the nearest 100 – do not report a range

## Slide 14: Reporting: low probability contamination specimens

## Slide 15: Reporting

## Slide 16: Reporting