| ##### Facility | Carl Vinson VA Medical Center 1826 Veterans Blvd. Dublin, GA 31021 |
| --- | --- |

| ##### Procedure | HCG (Human Chorionic Gonadotropin Sure-Vue® |
| --- | --- |

| ##### Summary of changes | Resulting instructions |
| --- | --- |

| ##### Updated by | Wendy L. Fordham, M.T.(ASCP) May 6, 2016 |
| --- | --- |

Reviewed by:       Aml Girgis,MD

| ##### Specimens | Urine or Serum |
| --- | --- |

| ##### Materials and Equipment | Materials Provided 1.Test device containing anti-hCG gold conjugate and anti-hCG coated on the membrane. #### Materials Required But Not Provided: #### Specimen collection container |
| --- | --- |

| ##### Records/Forms | Forms required: - Results recorded in Vista. |
| --- | --- |

| ##### Safety | ## PRECAUTIONS 1. For In-Vitro diagnostic use only. 2. The test device should be discarded in a proper biohazard container after testing. 3. Do not use kit beyond the expiration date. 4. The test device should remain in the sealed pouch until ready for use. ## STORAGE AND STABILITY The test kit is to be stored at room temperature (15° - 30°C) for the duration of the shelf-life. The test device must remain "sealed" in the pouch until ready for use. |
| --- | --- |

| ##### Quality Control | QUALITY CONTROL ###### Internal Controls The appearance of a Control Line in region C of the device is a positive procedural control. Correct procedural technique, specimen flow and device performance is confirmed when a colored line appears in the C (control) area of the membrane. If the colored line fails to appear in the C (control) area, the test result is invalid. A clear background is an internal negative procedural control. The background color should be white to light pink and should not interfere with the reading of the test result. If a more intensely red background color appears, it may interfere with the ability to read the test result, therefore the test should be repeated. External Controls Urine controls should be used when testing urine. Urine controls will be performed once every thirty days and with each new lot number or shipment. Serum controls should be used when testing serum. Serum controls will be run on each day of testing and with each new lot number or shipment. Negative and positive controls for hCG should be tested according to federal, state, and local authorities. Quality control should be performed on each lot received. |
| --- | --- |

| ##### Procedure | Perform the following steps to |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Remove the test device from the protective pouch and place it on a flat surface. Label the device with patient or control Identifications. |
| 2 3. | Dispense 3 drops (approximately 0.15 mL) of specimen into the round sample well (see illustration below). Wait for colored lines to appear Read serum results at 5 minutes and urine results at 3 minutes. Positive results may be observed in as short as 30 seconds depending on the concentration of hCG. The presence of the control line is not indicative of the test being completed. Wait the entire 5 minutes for the completion of the serum test and wait the entire 3 minutes for the completion of urine test. |

| ##### Results/ ##### Interpretation | #### Negative Results The test is negative if a colored line only appears in the C (control) window. Positive Results The test is positive if one colored line appears in the T (test) window and one colored line appears in the C (control) window. Any colored line in the T (test) window should be considered positive. Colored lines may be lighter or darker than each other. Specimens with hCG levels near the threshold of the test may develop color (faint lines) overtime after the 3 minute reading for urine and 5 minute reading for serum. In such cases another test should be performed with a new specimen in 48-72 hours. If faint line is observed in test window, report as positive with the following comment: HCG- Specimen has hCG levels near the threshold. PLS- Please resubmit new specimen between 48-72 hours. A line that appears after 15 minutes should be ignored. Reporting results: Negative results are reported as “NEG” in the computer. Positive results are reported as “1” in the computer. This is to insure that the ordering physician will be alerted of the result. |
| --- | --- |

| ##### Limitations 1 2. 3. 4. 5. 6. 7. 8. 9. 10. | ## False negative results may occur when levels of hCG are below the sensitivity level of the test. When pregnancy is still suspected, a fresh serum or a first morning urine specimen should be collected 48 hours later and tested. Elevated levels of hCG may be found in trophoblastic disease, choriocarcinoma, and embryonal cell carcinoma. Islet cell tumors may also produce hCG as well as other carcinomas.4 Detectable levels of hCG may remain several weeks following normal pregnancy, delivery by cesarean section, spontaneous or therapeutic abortion.5 Ectopic pregnancies may produce very low levels of hCG. A negative test therefore does not exclude ectopic pregnancy.6 If this condition is suspected, further testing using a quantitative test may be desirable. Abnormally high levels of hCG may be seen in molar pregnancies. Samples from abnormal pregnancies are beyond the intended use for qualitative hCG test. Approximately one third of all conceptions end in natural termination. 7 This may produce positive results when testing early in the pregnancy, followed by negative results after the natural termination. Low positive results may be confirmed by retesting with a fresh serum or first morning urine specimen collected 48 hours later. This test provides a presumptive diagnosis for pregnancy. Physicians should evaluate all clinical and laboratory findings before making a definitive diagnosis. A viscous specimen (high specific gravity) may exhibit a slower flow rate, therefore requiring more time for the test to be completed. A high dose “hook effect” may occur where the intensity of sample line decreases as the concentration of hCG increases. If a “hook effect” is suspected, dilution of specimens may increase color intensity of the sample line.8 The test is designed to be a qualitative test only and does not correlate directly to quantitative hCG tests. The intensity of color in a positive line should not be evaluated as “quantitative or semiquantitative”. Sensitive immunoassays may demonstrate false positive results with specimens containing heterophilic antibodies. Assays may also exhibit false-positive or false negative results with specimens containing human anti-mouse antibodies. |
| --- | --- |

| ##### Referenc ##### es | - Sure-vue® Package Insert. |
| --- | --- |

#### Annual Review

| ##### Facility | Carl Vinson VA Medical Center 1826 Veterans Blvd. Dublin, GA 31021 |
| --- | --- |

| ##### Procedure | Procedure No.: 2 | Revision Date: May 6, 2016 |
| --- | --- | --- |
| Information | Title: HCG (Human Chorionic Gonadotropin) |  |
|  | Total Pages: 5 | Date Implemented: |

| ##### Review Signatures | This procedure has been reviewed by the following individuals at the local facility: |
| --- | --- |

| Reviewed by: | Signature | Date |
| --- | --- | --- |

SOP Validation

| ##### Facility | Carl Vinson VA Medical Center 1826 Veterans Blvd. Dublin, GA 31021 |
| --- | --- |

| ##### Procedure | Procedure No.: 2 | Validation Date: May 6, 2016 |
| --- | --- | --- |
| Information | Title: HCG (Human Chorionic Gonadotropin) |  |
|  | Total Pages: | Proposed Effective Date: May 6,2016 |

| ##### Title and Scope | Are the Title and Scope clear and specific? |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If response is… | Then… |  |
|  |  | YES | Proceed to next question. |  |
|  |  | NO | Comment: |  |

| ##### Equipment and Reagents | Are all necessary equipment and reagents listed? |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If response is… | Then… |  |
|  |  | YES | Proceed to next question. |  |
|  |  | NO | Comment: |  |

| ##### Contents | Is the text sufficiently detailed to be understood and followed by the staff but not too complex to be accomplished? |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If response is… | Then… |  |
|  |  | YES | Proceed to next question. |  |
|  |  | NO | Comment: |  |

| ##### Validation Signature | SOP Validation was performed by: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Printed Name | Signature | Date |  |

#### Coordination and Implementation

| ##### Facility | Carl Vinson VA Medical Center 1826 Veterans Blvd. Dublin, GA 31021 |
| --- | --- |

| ##### Procedure | Procedure No.: 2 | Revision Date: |
| --- | --- | --- |
| Information | Title: HCG (Human Chorionic Gonadotropin) |  |
|  | Total Pages: 5 | Date Implemented: July 22,2009 |

| ##### Coordination Signatures | This procedure has been reviewed by the following individuals at the local facility: |
| --- | --- |

|  |  | Coordinated with... |  | Signature |  |  | Date |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Medical Director |  |  |  |  |  |  |
|  |  | Supervisory Medical Technologist |  |  |  |  |  |  |
| ##### Document Control | The total number of copies made for local use is 1_ and their locations are: |  |  |  |  |  |  |  |
|  |  | Copy # | Location |  | Copy # | Location |  |  |
|  |  | Master | Serology Department |  | 6 |  |  |  |
|  |  | 1 |  |  | 7 |  |  |  |
|  |  | 2 |  |  | 8 |  |  |  |
|  |  | 3 |  |  | 9 |  |  |  |
|  |  | 4 |  |  | 10 |  |  |  |
|  |  | 5 |  |  | 11 |  |  |  |

| ##### Date Rescinded | This procedure was rescinded on _____________. All copies listed above have been retrieved and archived/destroyed as appropriate. |
| --- | --- |

#### Training Documentation

| ##### Purpose | To document training for implementation and procedural changes. |
| --- | --- |

Training Date: May 6, 2016

Purpose of Training: Introduce new hCG Kit.

Implementation date of SOP: May 6, 2016

Instructor: Wendy Fordham

| ##### Training Documentation Verification that all testing personnel have been trained on this SOP. | Printed Name; Signature; Date. Note: Training of SOP does not imply competency. Competency assessment completed per facility-established protocols. |
| --- | --- |

| ##### Personnel Record Documentation | Include documentation of the training in each employee record. |
| --- | --- |

| ##### Records/Forms | Facility-specific records and forms. |
| --- | --- |

#### Change Control

| ##### Facility | Carl Vinson VA Medical Center 1826 Veterans Blvd. Dublin, GA 31021 |
| --- | --- |

| ##### Procedure Information | Procedure No.: 2; Revision Date: May 6, 2016. Title: HCG (Human Chorionic Gonadotropin). Total Pages: 5; Date Implemented: May 6, 2016. |
| --- | --- |

| ##### Nature of Change | Resulting instructions |
| --- | --- |

| ##### Coordination Signatures | This procedure has been reviewed by the following individuals at the local facility: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Coordinated with… |  | Signature | Date |  |
|  |  | Medical Director |  |  |  |  |
|  |  | Supervisory Medical Technologist |  |  |  |  |
| ##### Training Documentation | All applicable staff personnel have been trained on the changes. Documentation of training has been verified by: |  |  |  |  |  |
|  |  | Printed Name | Signature |  | Date |  |