**ENTERING BINAX NOW COVID-19 TEST RESULTS INTO VISTA**

1. VA Shortcuts **(Star)**
2. Vista – R3
3. Select Ambcare Assistant Option: **0 (Zero)**
4. Choose 1-20: **Look for “Fast Bypass Data Entry/Verify**” **option**
5. Do you want to review the data before and after you edit? YES//: **press “enter”**
6. Select Performing Laboratory: DUBLIN VAMC//: **press “enter”**
7. Want to enter collection times? Y//: **press “enter”**
8. Select accession test group: **Nurse**
9. Select patient name: **SS#**
10. Specimen collected now: SP??: **press “enter”**
11. Patient location: UCC//: **press “enter”**
12. If location is other than UCC: **Type in “DUB UCC T19 BLDG87 DAYS or EVENING”**
13. Choose 1-3 (1-Days, 2-Evening, 3-Resp): **1 or 2**
14. Provider: **MD Name**
15. Other tests? N//: **Yes**
16. Select laboratory test name: **BIN**
17. Choose 1-5: **1 (Binax Covid-19 Diag Panel AT)**
18. Same specimen source for the rest of the order? No//: **Yes**
19. Select urgency status: 9B ICU//: **Routine**
20. Select laboratory test name: **BIN**
21. Choose 1-5: **1 (Binax Covid-19 Diag Panel A**T)
22. Nature of order/change: Policy: **press “enter”**
23. All satisfactory? Yes: **press “enter”**
24. Collection Date and Time: **T@0900**
25. Print Labels on: s553//: **press “enter”**
26. Work Load Area: **Serology**
27. Z…//: **press “enter”**
28. Select Comment: **swab performed by Moore CRNA**
29. Select Comment: **press “enter” if no further comments**
30. Work Load Area: **Serology**
31. May have to repeat Work Load Area more than once
32. Accession:

Covid-19 Antigen (Binax) //: **NEGATIVE OR POSITIVE**

Covid-19 Binax QC //: **ACCEPTABLE OR UNACCEPTABLE**

Covid-19 Binax Lot # //: **Ex. 132218A**

Covid-19 Binax Exp Date //: **Ex. 05/10/2021**

1. Select Comment: **Ex. Reported to Dr. Simon**
2. Select Comment: **press “enter” if no further comments**
3. Select (“E”, “C”,”W”): **press “enter”**
4. Approve for release by entering your initials: **TH**