Random error is the irreproducibility in making replicate measurements and affects the precision of a result.

Systematic errors are errors that produce a result that differs from the true value by a fixed amount. These errors result from biases introduced by instrumental method, or human factors.