|  |  | FIRE TYPE |  |
| --- | --- | --- | --- |
| TYPE EXTINGUISHER | CLASS "A" | CLASS "B" | CLASS "C" |
| Carbon Dioxide (CO2) BC Fires Only Operating rooms C-Section Room | NO They don't work very well on class A fires because the material usually reignites. | YES Excellent Carbon dioxide leaves no residue, does not affect equipment or food | YES Excellent Carbon dioxide is a non-conductor, will not damage equipment and leaves no residue |
| Dry Chemical ABC Rated Throughout the hospital | YES Excellent for ordinary materials like burning paper, lumber, cardboard, plastics etc. | YES Excellent Chemical absorbs heat and releases smothering gas on fire | YES Excellent Chemical is a non-conductor |
| MRI Center or nuclear magnetic resonance spectrometers (NMR's) | YES Provides safety from electric shock and reduces scattering of burning materials | NO | YES Ideal for Class A fires where a potential Class C hazard exists. |

  - Class A fires are ordinary materials like burning paper, lumber, cardboard, plastics etc.

  - Class B fires involve flammable or combustible liquids such as gasoline, kerosene, and common organic solvents used in the laboratory.

  - Class C fires involve energized electrical equipment, such as appliances, switches, panel boxes, power tools, hot plates and stirrers. Water can be a dangerous extinguishing medium for class C fires because of the risk of electrical shock unless a specialized water mist extinguisher is used.