PROFICIENCY TESTING

ALTERNATIVE ASSESSMENT PROCEDURE (AAP) DEVELOPMENT TOOL

Laboratory Section:

Proficiency Testing AAP is used to assess test performance when formal PT is not available or when an unsuccessful result is received on a formal PT evaluation and retesting is required.

Section: Point of Care:  BEND Dermatology      _______    Test: Scabies and KOH Prep____

Date:  01/30/2013

Reason for AAP:	X No formal PT available	□ Failed Formal PT

| ALTERNATIVE ASSESSMENT TOOLS |  |  |  |
| --- | --- | --- | --- |
| Split Sample with reference or other laboratory |  | Re-evaluation of morphologic analysis (Supervisor review or unknown slides) |  |
| Split-Sample with an established in-house method |  | Participation in ungraded/educational PT programs |  |
| Manufacturer’s product or QA material |  | Surrogate organisms |  |
| Assayed material or regional pools |  | Reference-range analysis |  |
| Other method: Use MTS Med Training Solutions custom competencies for Scabies and KOH Prep. |  |  |  |

Steps to perform assessment: Have Dermatology Staff participate in MTS Challenges/ Exam Modules which consist of 15 photos & questions at least twice a year.

Limits of Results Acceptability: Passing with at least 80% on the MTS Training exams.

Planned assessment dates (2X a year minimum):   Approximately every January & July

Review of Results:   AAP was performed by provider Margot Ouimette on January 30, 2013 for the

Dermatology Service located at the BEND CBOC.

Scabies Prep  5/5 for 100%

KOH Prep   5/5 for 100%

See attached testing documents.

Section Supervisor/POCC:							Date:

Medical/Site Director:								Date:

Laboratory Director:								Date:

Date reviewed with section staff (optional):