Oraquick® POC HCV Competency Exam

Wilkes-Barre VA Medical Center

Name:___________________________________________ Date________________________

Score:________________(Acceptable Score >/= 80%)

- According to manufacturer’s instructions, the acceptable time to read Oraquick ® HCV test  result is:

  - 10 to 30 minutes

  - 20 to 60 minutes

  - 20 to 40 minutes

- The three possible Oraquick ® HCV Test result outcomes are:

  - Positive , Negative, borderline

  - Positive, Negative, inconclusive

  - Positive, Negative, weakly positive

  - Positive, Negative, Invalid

3.)      The complete storage temperature range of the OraQucik HCV Tet kit is

- 2-8°C; 36-46°F

- 2-30°C; 36- 86°F

- Comfortable room temperature 15-37° C; 59-99°F.

- The acceptable temperature range for performing OraQuick HCV Test is

- 2-8°C; 36-46°F

- 2-37°C; 35-99°F

- Comfortable room temperature  15-37° C; 59-99°F

- The blood filled specimen collection loop

- Should be rapidly dipped in the Developer Solution Vail and discarded

- Should be stirred in the Developer Solution Vial and then discarded

- Can be left in the Developer Solution Vial for up to 10 minutes and discarded

- Should be stirred in the Developer Solution Vial and then saved until the test is complete

- The 2 holes in the back of the OraQuick HCV Test Device must be covered after placing the device into

the Developer SolutionVial.

True                         False

- The built in procedural control in the QraQucik HCv Test Device is intended to confirm that the patient

sample has moved past the Test (T) area.

True                       False

- The OraQucik HCV reactive test result is interpreted as positive test for the presence of HCV Antibodies

True                       False

- The first drop of blood from a fingerstick can be used to perform the OraQucik HCV test.

True                        False

- The Developer Solution Vial must turn pink after adding the fingerstick whole bood sample

True                       False