|  |  |
| --- | --- |
| Safety Message | When possible, set up your work station to be ergonomically correct for your body specifications. |

|  |  |
| --- | --- |
| Purpose or Principle or Introduction | This procedure provides instructions for the phlebotomist on the proper use and setup of the Chaparral blood draw stations. |

|  |  |
| --- | --- |
| Scope | This procedure is intended for all users. |

|  |  |
| --- | --- |
| Policy | * This procedure must be followed prior to performing any phlebotomy procedure.
* Phlebotomy procedure **must** be performed standing up.
 |

|  |  |
| --- | --- |
| Safety or Special Safety Precautions | Refer to the safety manual for general safety requirements for phlebotomy procedure. |

|  |  |
| --- | --- |
| Procedure | Follow the steps below to |
| **Step** | **Action** |
| 1 | Adjust the phlebotomy table to your height and comfort. Adjust the chair height up or down for the patient’s arm to lie flat on the phlebotomy table |
| 2 | Adjust the computer monitor and keyboard height  |
| 3 | Loosen the knob that locks the monitor in place and turn counter-clockwise Wor43D |
| 4 | Slightly lift the monitor up as you are applying pressure, to move either up or down. Wor442 |
| 5 | Tighten knob to lock monitor/keyboard in place. |

|  |  |
| --- | --- |
| Author | Eleanor Ilagan, CLS, ASCP,  |

|  |  |
| --- | --- |
| Distribution | * Carson Medical Office Laboratory
* Coastline MOB Laboratory
* Gardena MOB Laboratory
* Long Beach MOB Laboratory
* Normandie North MOB Laboratory
* Torrance MOB Laboratory
 |

Document History Page

Effective Date: 12/02/2013

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Change type: New, Major, Minor etc. | Changes Made to SOP – describe | Signature responsible person/date | Med. Dir. Reviewed/ Date | Lab Manager reviewed/ date | Date change implemented |
| New |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |