2/12/19

HUWG

* Software upgrade on all DxH’s for Latron Mod (it will take 30 minutes each instrument)
* Cellavision DM96 will be phased out in 2020
* Cellavision without middleware: Karen Smith will need to be part of conversation
* Feb 13: live of body fluid reporting TNC and RBC up to 7 digits.
* Level 1 control of body fluid (more stable materials, new lot number will have corrective action included – any lot number after March will be OK)
* Auto release of CBC those med center without middleware.
  + Rules will be defined in DxH
  + Will held result in Cerner (informatics will be involve)
* Platelet clumps: other medical center will report “unable to report” and then report platelet estimate. Will standardize P & P.
* PW presentation for CAP Cell ID will be posted in share point by regional labs every quarter to be used by each medical center for educational purposes. We have the same procedure but we don’t discuss with CLS’s. Jan will place CAP results on clip board and have all CLS’s sign and review cell ID.
* Thrombocytopenia panel: per Dr. palmer-Toy will be done at chino hills lab only.
* Giant Platelets: will not report if <5%
* ISLH slide review rules: Marylou and Dr. palmer-Toy will review and send for final approval.
* i-SED: Agreement with Alcor
  + Will train IR by Alcor for PM
  + Instrument calibration will be done by Alcor
  + Additional info will be provided later
* UA-chemical testing: next month will be shipping good lot number of urine strip.
* Will ask Beckman for credit of all bad lot numbers of UA strips.