Hematology/Coag Competency Assessment Checklist

HST

Patient Results (Screen Shot)

Critical Call (Screen Shot)

QC (Maintenance Log for XE-5000)

Maintenance (Maintenance Log for XE-5000)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Resulting)

☐ Direct Observation (Maintenance)

# ESR

Patient Results (Screen Shot)

QC (MN only-Maintenance Log for iSED)

Maintenance (Maintenance Log for iSED)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Resulting)

☐ Direct Observation (Maintenance)

# Morphology

Patient Results (Screen Shot)

QC (Copy of Smear Quality Log)

Maintenance (Maintenance Log for Microscope)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Resulting)

☐ Direct Observation (Maintenance)

# Sickle Screen

Patient Results (Screen Shot)

QC (Sickle control log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Resulting)

# Body Fluid Automation

Patient Results (Screen Shot)

Maintenance (Maintenance Log for XE-5000)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

☐ Direct Observation (Maintenance)

Crystal Analysis

Patient Results (Screen Shot)

QC (Crystal control log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

# Post Vasectomy Check

Patient Results (Screen Shot)

QC (Post Vas Check QC Log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

# Hemacytometer Counting

Patient Results (Screen Shot)

QC (Part of Screen Shot-keypad w/ 2 counts)

Maintenance (Maintenance log for microscope)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

☐ Direct Observation (Maintenance)

# Acid Elution

Patient Results (Screen Shot)

QC (Acid Elution QC Log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

# Bone Marrow

Patient Results (Screen Shot)

QC (Stain QC log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)



Coag Line

Patient Results (Screen Shot)

Critical Call (Screen Shot)

QC (Maintenance Log for IL Analyzer)

Maintenance (Maintenance Log for IL Analyzer)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

☐ Direct Observation (Maintenance)

# PFA

Patient Results (Screen Shot)

QC (Designated Techs only-Maintenance Log PFA)

Maintenance (Maintenance Log for PFA)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (perform/Resulting)

☐ Direct Observation (Maintenance)

# FSP

Patient Results (Screen Shot)

QC (Screen shot of QC)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)

# FSF

Patient Results (Screen Shot)

QC (FSF QC log)

Blind Sample (MTS.org or Survey Sample)

Limits/Troubleshooting (MTS.org/Evidence)

☐ Direct Observation (Perform/Resulting)