## Sheet1
Month/Year
Instructions: Enter patient's MRN or QC ID number under "Sample ID". Enter the date the testing was run which must be the same date for manual, NEO and ECHO testing per test, per sample. Enter manual tube results in the corresponding boxes below. After running sample for specified test and attaching a copy of printout to this log, check the box below the corresponding instrument. Repeat for each sample and test performed until there are 5 entries under each test.
ABO/Rh
Sample ID | Date Run | Anti-A | Anti-B | Anti-A,B | Anti-D | Mono Ctrl | A Cells | B Cells | Interp. | NEO | ECHO | Comments
M123456 | 2014-12-08 | 4+ | 0 | 4+ | 4+ | 0 | 0 | 4+ | A Pos | þ | þ
M234567 | 2014-12-08 | 0 | 0 | 0 | 4+ | 0 | 4+ | 4+ | O Pos | þ | þ
M345678 | 2014-12-08 | 0 | 4+ | 4+ | 0 | 0 | 4+ | 0 | B Neg | þ | þ
M456789 | 2014-12-08 | 4+ | 0 | 4+ | 4+ | 0 | 0 | 4+ | A Pos | þ | þ
M567891 | 2014-12-08 | 4+ | 0 | 4+ | 4+ | 0 | 0 | 4+ | A Pos | þ | þ
Antibody Screen (PEG enhancement)
Sample ID | Date Run | SCI |  | SCII |  | SCIII
|  | IS | IAT/CC | IS | IAT/CC | IS | IAT/CC | Interp. |  | NEO | ECHO | Comments
M123456 | 2014-12-08 | 0 | 0/3+ | 0 | 0/3+ | 0 | 0/3+ | Negative |  | þ | þ
M234567 | 2014-12-08 | 0 | 0/3+ | 0 | 0/3+ | 0 | 0/3+ | Negative |  | þ | þ
M345678 | 2014-12-08 | 0 | 0/3+ | 0 | 0/3+ | 0 | 0/3+ | Negative |  | þ | þ
M456789 | 2014-12-08 | 0 | 0/3+ | 0 | 0/3+ | 0 | 0/3+ | Negative |  | þ | þ
M567891 | 2014-12-08 | 0 | 0/3+ | 0 | 0/3+ | 0 | 0/3+ | Negative |  | þ | þ
IgG DAT
Sample ID | Date Run |  | IgG | CC | DAT Cont | Cont. CC |  |  | Interp. | NEO | ECHO | Comments
M123456 | 2014-12-08 |  | 0 | 3+ |  |  |  |  | Negative | þ | þ
M234567 | 2014-12-08 |  | 3+ | [5 empty] | Positive | þ | þ
M345678 | 2014-12-08 |  | 0 | 3+ |  |  |  |  | Negative | þ | þ
M456789 | 2014-12-08 |  | 0 | 3+ |  |  |  |  | Negative | þ | þ
M567891 | 2014-12-11 |  | 0 | 3+ |  |  |  |  | Negative | þ | þ