
MTS questions for Alere competency:

1. Serum and plasma specimens may be stored at RT for up to 7 days before testing.
   1. True
   2. False
2. The test results should be read at what time interval?
   1. 8-10 minutes
   2. 15-20 minutes
   3. 20-30 minutes
   4. Anytime after 30 minutes
3. Any visible line (even if very faint) in the control window can be interpreted as a valid result.
   1. True
   2. False
4. Interpret the following test result:



* 1. Antigen reactive
  2. Antibody and antigen reactive
  3. Invalid result
  4. Antibody reactive
  5. Antigen and antibody reactive

1. After removing the protective foil cover from each test unit, the test should be initiated within 2 hours.
   1. True
   2. False