OCHNSER MEDICAL CENTER-KENNER

180 WEST ESPLANADE AVENUE

KENNER, LA  70065

TRANSFUSION SERVICE

CHANGE CONTROL RECORD

1.	Name of process/procedure/equipment/reagent:__________________________________________

2.	Status:  ___New   ___Change or Update ___ Minor change (No impact on processes or procedures).

3.	Brief description of change: ____________________________________________________________

___________________________________________________________________________________

SECTION A. If change involves a process, procedure/methodology, or piece of equipment, answer the following:

INSTALLATION QUALIFICATION:

A 1.	Does the equipment require initial and/or periodic calibration? ___YES     ___NO

If yes:

Describe the calibration method:__________________________________________

How frequent is calibration performed?_____________________________________

Who performs the calibration?____________________________________________

A 2.	What routine maintenance is required?____________________________________________________

___________________________________________________________________________________

How frequent is maintenance performed?__________________________________________________

Who performs the maintenance?_________________________________________________________

A 3.	Are there QC checks to be performed?	_____YES		____NO

If yes, attach the approved QC procedure.  (Procedure should describe what checks are required, how

often performed, who performs it, limits of variation, and the QC documentation form)

PERFORMANCE QUALIFICATION:

A 4.	Attach a description of the test cases (routine and “worst case” 0 performed; include acceptable criteria.

A 5.	How many challenges were performed?____________________________________________________

SECTION B: If change involves a reagent, answer the following questions:

B 1.	Has the manufacturer’s insert or user guide been reviewed?	       _____YES	_____NO

B 2.	Has the routine SOP been developed or modified to conform to the manufacturer’s insert or user guide?

_____YES		____NO

B 3.	Has the Q.C. SOP been developed or modified to conform to the manufacturer’s insert or user guide?

____YES		____NO

If yes, attach the approved QC procedure.  (Procedure should describe what checks are required, how

often performed, who performs it, limits of variation, and the QC documentation form)

Page 1

OCHNSER MEDICAL CENTER-KENNER

180 WEST ESPLANADE AVENUE

KENNER, LA  70065

TRANSFUSION SERVICE

CHANGE CONTROL RECORD

SECTION C: Employee Training

C 1.	Attach the approved procedure.

C 2.	Attach evidence of employee training.  (Documentation includes checklists, handouts, sign-in sheets from in-service(s), etc.)

SECTION D: Conclusions

D 1.	Describe the impact that this new or changed process, procedure, equipment, or reagent has on the

transfusion service:

____________________________________________________________________________________	____________________________________________________________________________________

D 2.	Overall conclusions of the validation process:_______________________________________________

____________________________________________________________________________________

Change Control Report prepared by/date:________________________________________________________

SECTION E: Approval signatures

E 1.	Medical Director/Date:____________________________________________________________

E 2.	Lab Manager/Date:___________-___________________________________________________

E 3.	Blood bank Supervisor/Date:_______________________________________________________

Implementation Date:___________________________________________________________________

S:\bb-changecontrolrecord.doc                                                                                                                                                                              Rev. 5/10

Page 2