| NOTE: | THE COLLECTOR MUST LABEL AND SIGN or INITIAL EVERY SPECIMEN (TUBE) and MUST COMPLETE THE DECLARATION ON THE REQUEST FORM. |  |  |
| --- | --- | --- | --- |
| Tube Guide for Common Tests |  |  |  |
| CAP | TESTS | CAP | TESTS |
| ##### HEPARIN PLASMA with GEL, 5.0 mL |  | ##### EDTA, 3 mL |  |
| PALE GREEN (367375) Common Biochem plus | - Most urgent BIOCHEMISTRY and any patient on anti-coagulation medication. - NOT for Lithium, Holo-TC Vit B12 - or PEP - UE, LFT, Lipids, CA (NOT Ionised CA), IP, MG, AST, CK, CRP, Drug Levels, Haptoglobin, Iron Studies, Osmolality, TFT, Troponin. - Plasma Free Haemoglobin. | PALE LILAC (367838) | - Essential for— FBE, Hb, DCT, Retics Separate tube for— - CD4/8, CD2/3, Cell Surface Markers, Flow Cytometry - HbA1c - BNP (not NTproBNP), Red Cell Folate - Cyclosporin, Everolimus, Sirolimus, Tacrolimus - Posaconazole, Voriconazole - Factor V Leiden, Prothrombin 20210 - ACTH,Ammonia, and Homocysteine on ice. |
| ##### PLAIN BLOOD (Serum) with GEL, 8.5 mL |  |  |  |
| GOLD (367958) | - Ionised Calcium, Aldosterone, PEP, Immunoglobulins, Free Light Chains, IgG subclasses, Lithium, Vit D, Methotrexate, Thiopentone, NT-pro BNP, PSA, - free PSA, Holo-TC, Vit B12. - HITS Screen, IgE, RAST, Tryptase. - Calcitonin, VitA, VitE, C-Peptide all on ice. - (NB: Vit A, Vit C & Vit E - protect from light) | GOLD (367958) | - SEROLOGY - (extra tube if more than 4 of these tests) ASOT, CMV, Cryptococcus, EBV, Hep A, B, C, HIV, Herpes, Rubella, Syphilis, Toxoplasma, Varicella - Autoantibodies, Anticardiolipin Antibodies, GAD, IF, B2GP1, ACL, ENA, MPO, PR3 and Gliadins |
| ##### FLUORIDE OXALATE, 2 mL |  | ##### EDTA, 6 mL—‘CROSSMATCH’ |  |
| GREY (367934) | - Lactate - Fasting or Timed Glucose, Glucose Challenge Test Glucose Tolerance Test | PINK (367941) | - Essential for— Crossmatch, G&S, G&H - Cold Agglutinins (must be kept at 37C—call lab first) - Remember to date, time and sign TUBE |
| ##### CITRATE, 2.7 mL (must be complete fill) |  | ##### EDTA, 10 mL |  |
| PALE BLUE (363095) | - COAG—PT, INR, APTT, Fibrinogen, D-Dimer, Anti-Xa - Factor VIII, Factor IX, VWF, RCOF, ATIII, Protein C, Protein S, Lupus Screen. | PURPLE (367525) | - PTH, Renin (no ice) - Haemoglobin Electrophoresis - CryoFibrinogen (call Lab first) - CMV viral load, HIV/HBV/HCV Viral Loads, Hep C PCR, Parvovirus PCR and other Viral PCR’s. |
| ##### PLAIN BLOOD (= Serum) without GEL, 10 mL |  | ##### ACD, 8.5 mL |  |
| RED (367895) | - CryoGlobulins, (must be kept at 37C—call lab first) - Cytotoxic antibodies, Platelet antibodies | YELLOW (364606) | - HLA Tissue Typing— see Pathology Handbook for further details - HLAB27, HLA H |
| - See Next Page (over) for Special Tubes, Paediatric Tubes and Order-of-Draw Chart. |  |  |  |
| - Tests printed in Blue & Underlined must be delivered On Ice. |  |  |  |
| - Some tests require multiple or separate tubes, consult the Pathology Handbook (intranet) for details. |  |  |  |
| - Hazard Warning: Never inject blood into the tube from needle and syringe. |  |  |  |

| NOTE: | THE COLLECTOR MUST LABEL AND SIGN or INITIAL EVERY SPECIMEN (TUBE) and MUST COMPLETE THE DECLARATION ON THE REQUEST FORM. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CAP | TESTS |  | CAP |  | TESTS |  |
| ##### METAL-FREE EDTA, 6 mL |  |  | ##### SPECIAL TUBE& (Special Fill Citrate) |  |  |  |
| DARK BLUE (368381) | - Trace & Toxic Metals— Aluminium, Cadmium, Copper, Lead, Mercury, Selenium, Zinc |  | BLACK (Vacu-tek®)* |  | - ESR (not suitable for any other tests) |  |
| PAEDIATRIC (MICRO) COLLECTION CONTAINERS |  |  |  |  |  |  |
| Tests: as per Tube Guide on page 1 |  |  |  |  |  |  |
| SPECIMEN |  | DETAILS |  | USE |  | TUBE |
| PLAIN BLOOD (= Serum) with GEL, 600 L |  | - MICROTAINER - Cat. No. 365967 |  | Paediatric & finger-prick collections |  |  |
| EDTA 500 L |  | - MICROTAINER - Cat. No. 365974 |  | Paediatric & finger-prick collections |  |  |
| HEPARIN PLASMA with GEL, 600 L |  | - MICROTAINER - Cat. No. 365985 |  | Paediatric & finger-prick collections |  |  |
| CITRATE, 1.8 mL |  | - VACUTAINER - Cat. No. 363093 |  | Difficult bleeds |  |  |
| CITRATE 1.0 mL |  | - MINICOLLECT® - Cat. No. 450413 |  | Paediatric collections (NOT finger-prick for Coagulation tests) |  | (image not available) |
| ORDER OF DRAW CHART |  |  |  |  |  |  |
| 1. Sterile samples (eg: Blood Cultures) 2. SST™II Gel [] Plain Serum tubes [] 3. Citrate tubes* [] ACD tubes [] 4. PST™II Gel tubes [] Heparin tubes [] 5. EDTA tubes [] [] 6. Fluoride Oxalate (glucose tubes) [] * Coagulation Tests—When collection is by vacuum tube the coagulation tube should be collected second to avoid artefactual shortening of coagulation assays due to trauma of venesection. If no other tube is required then collect two blue-top tubes and discard the first. When blood is collected from an arterial line discard the first 20 mL of blood to clear any heparin from the line before collecting the blood for coagulation tests. &ESR—In accordance with NCCLS1 recommendations, ESR tubes should be placed at position 3 above. However, because their position in the order is not as critical as for citrate specimens for coagulation testing, it is common practice to place this tube at the end of the list to provide greater priority to tubes that will generally be required for more clinically important tests. - NCCLS document H3-A5 “Procedures for the Collection of Diagnostic Blood Specimens by Venipuncture”. 5th Edition, Dec. 2003. |  |  |  |  |  |  |