C.Diff Quik Chek Complete Quiz

Name\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date\_\_\_\_\_\_\_\_\_\_

|  |  |
| --- | --- |
| 1. The C.Diff Quik Chek Complete kit needs to be stored refrigerated
 | T F |
| 1. The C.Diff Quik Chek Complete can be tested immediately after removal from the refrigerator
 | T F |
| 1. External controls will be tested on each new lot/shipment and monthly thereafter
 | T F |
| 1. Fecal samples can be stored at at 2-8C for up to 72hrs, but optimal results are obtained with refrigerated specimens less than 24hrs old
 | T F |
| 1. If PCR confirmation is needed stool in Cary Blair transport media may be sent to reference lab
 | T F |
| 1. Specimens can be stored in diluents for up to 24 hours at room temperature
 | T F |
| 1. Solid specimen may be tested for Cdiff antigen/toxin and sent for PCR confirmation is required
 | T F |
| 1. If patient tested positive for Cdiff toxin, then Cdiff screen testing may be repeated every 2 days for treatment monitoring
 | T F |
| 1. The C.Diff Quik Chek Complete testing needs to be repeated for 3 consecutive days.
 | T F |
| 1. Specimen refrigeration is not necessary even if stool is not tested for Cdif immediately after collection.
 | T F |

Reviewed \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date\_\_\_\_\_\_\_