Part One

|  |  |
| --- | --- |
|  | **A.** Run a quality control manually |

|  |  |
| --- | --- |
|  | **B**. Rack which has been unloaded and is in the tray |

|  |  |
| --- | --- |
|  | **C.** Display the Quality Control menu |

|  |  |
| --- | --- |
|  | **D.** Release the tray |

|  |  |
| --- | --- |
|  | **E**. Rack being unloaded |

|  |  |
| --- | --- |
|  | **F.** Display the Archives menu |

|  |  |  |  |
| --- | --- | --- | --- |
|  | |  |  | | --- | --- | |  | **G**. Product requiring magnetic stirring | |

|  |  |
| --- | --- |
|  | **H.** Modify the volume of STA-Cleaner Solution |

|  |  |
| --- | --- |
|  | **I**. One or more alarms are associated with the result |

|  |  |
| --- | --- |
|  | **J.** Change the patient file to a STAT one. |

|  |  |
| --- | --- |
|  | **K**. Sample distributed in cuvette |

|  |  |
| --- | --- |
|  | **L**. Test blocked due to lack of product |

Part Two

|  |  |
| --- | --- |
|  | **A.** Modify the number of cuvettes |

|  |  |
| --- | --- |
|  | **B**. Rack inside the instrument |

|  |  |
| --- | --- |
|  | **C.** Display the Maintenance Screen |

|  |  |
| --- | --- |
|  | **D.** Change of user/exit system |

|  |  |
| --- | --- |
|  | **E**. Emergency Stop |

|  |  |
| --- | --- |
|  | **F**. Clot measurement in progress |

|  |  |
| --- | --- |
|  | **G**. File present but tube not loaded |

|  |  |
| --- | --- |
|  | **H.** Flag files |

|  |  |
| --- | --- |
|  | **I.** Modify a patient file |

|  |  |
| --- | --- |
|  | **J**. Calibrator absent from the Products drawer |

Part Three

|  |  |
| --- | --- |
|  | **A.** Concentration thresholds missing for a calibrator |

|  |  |
| --- | --- |
|  | **B.** Displayed and blinks when a control is out of range |

|  |  |
| --- | --- |
|  | **C.** Detection level problem for Products |

|  |  |
| --- | --- |
| 1. **Tol.** | **D.** Deviation > tolerance (for determinations in duplicate mode) |

|  |  |
| --- | --- |
| 1. **Detect** | **E.** Validate the result of a quality control |

|  |  |
| --- | --- |
|  | **F.** Display the screen for either right- or left-handed users |

|  |  |
| --- | --- |
|  | **G.** Calibrator absent from the Products drawer |

|  |  |
| --- | --- |
|  | **H.** Display the Setup menu |

|  |  |
| --- | --- |
|  | **I.**  Display the Search menu |

|  |  |
| --- | --- |
|  | **J.** Stop the sample pipetting |