## Slide 1
ENTERING MICRO ORDERS

## Slide 2
ENTERING MICRO ORDERS
Entering Micro Orders follows the same procedure as Entering Orders in Soft Lab.
After typing or selecting the ordered test in the ID field of the Orders tab, the Micro tab will open, requesting input of the Source & the Site.
First, a Search window will open for you to select the source which will populate the yellow highlighted Source field.
Click on the appropriate line, then Click OK or Double Click on the appropriate line of the source.

## Slide 3
Next, a window will open with possible Sites that would be compatible with the Source entered in the preceding step.
Click on the appropriate line of the Site. (The site can also be free texted by exiting out of the SKLRU popup box & typing the site indicated on the specimen into the Site box.)
Coll/Rec All under the Specimen tab, Save your changes & print the Labels.

## Slide 4
Special Note: If there is a Left or Right site for a source (Example: Bone from the Left or Right Heel) a box will open for you to select Left or Right, after you enter the Site. You could also select the Left or Right specific digit if the source was from a toe or finger, etc.

## Slide 5
Special Note:
To save time, you can Collect & Receive Micro specimens under the Micro tab. Put the collector ID in the Collected By field at the appropriate time.
Click the Add (F6) button or hit the F6 function key after clicking in the Received By field to default to you. Save your changes & print the Labels.

## Slide 6
Common Micro orders can be found in the Front Desk MedFusion manual by source behind the Micro tab or by test name alphabetically.
Call the MedFusion Micro. Dept. at 972-966-7500 for further assistance.
Another helpful method to find Micro orders is using the SEARCHING FOR UNFAMILIAR MNEMONICS procedure. After Clicking on the Insert icon under the Ordered tab, type CX or BF in the Code field to see some helpful searches.
Additionally, you can refer to the BUMC Pathology Handbook (under Clinical Links on the myBaylor home page).

## Slide 7
Special Note: Typing CX in the Code field brings up all of the Culture Codes.
Click Find or hit Enter.

## Slide 8
Special Note: Typing BF in the Code field brings up all of the Body Fluid Codes.
Click Find or hit Enter.

## Slide 9
Special Note: Typing CF & CSF in the Code field brings up all of the Spinal Fluid Codes.
Click Find or hit Enter.

## Slide 10
Special Note: Typing U in the Code field brings up all of the Urine Testing Codes & any test name that begins with U.
Click Find or hit Enter.
Click Find again to see Test Names past the first 50.

## Slide 11
COMMON MICRO ORDERS & SPECIMEN REQUIREMENTS
(Look behind the MICRO tab in the MedFusion manual for these pages.)
TEST NAME | SOFT CODE | TRANSPORT CONTAINER | TEMP | SEND TO | TAT | SPECIMEN REQUIREMENTS
STAINS | Stains are included in Culture order except for fungus |  |  |  |  | 
Gram stains | GRAM | Refer to specific Culture container | A | MF | 1 day (Daily) | ONLY ORDER IF STAT Urine/Stool OR if No Culture has been ordered.
Acid fast | AFBST | Refer to specific Culture container | A | MF | 1 day (Daily) | ORDER IF this is ONLY ORDER
Fungal (KOH prep) | FUNST | STERILE CONTAINER | A | MF | 1-2 days (Daily) | 
RESPIR./BRONCH WASH | SPUTUMS take to Hematology first |  |  |  | NO ANAEROBIC | CULTURE
Culture Respiratory | CXRES | STERILE CONTAINER | R | MF | 2 days (Daily) | Expectorated/induced sputum, trach asp, bronch wash & brush,BAL
Culture Acid Fast | CXAF | STERILE CONTAINER | A | MF | 6 wks (Daily) | AFB at least 5ml OF SPUTUM (for processing)
Culture Fungus | CXFUN | STERILE CONTAINER | A | MF | 29 days (Daily) | 
WOUND |  | NO ACID FAST CULTURE |  |  |  | 
Culture Wound | CXWND | BLUE SWAB | A | MF | 3 days (Daily) | 
Culture SURGICAL Wound | CXWDS | BLUE SWAB | A | MF | 3 days (Daily) | 
Culture Anaerobic | CXANA | BLUE SWAB | A | MF | 4-5 days (Daily) | 
Culture Fungus | CXFUN | BLUE SWAB | A | MF | 29 days (Daily) | 
BODY FLUID | NO SWABS If SWAB is received, cancel & reorder either Surgical Wound or Wound Culture |  |  |  |  | 
Culture Fluid | CXBF | Sterile container/ACT I Anaerobic Transport container | A | MF | 3 days (Daily) | 
Culture Anaerobic | CXANA | Sterile container/ACT I Anaerobic Transport container | A | MF | 4-5 days (Daily) | 
Culture Acid Fast | CXAF | Sterile container/ACT I Anaerobic Transport container | A | MF | 6 wks (Daily) | 
Culture Fungus | CXFUN | Sterile container/ACT I Anaerobic Transport container | A | MF | 29 days (Daily) | 
Culture Viral | CXVIR | M5 Transport media | R | MF | 6 days (Daily) | Store & Transport refrigerated

## Slide 12
COMMON MICRO ORDERS & SPECIMEN REQUIREMENTS
(Look behind the MICRO tab in the MedFusion manual for these pages.)
TEST NAME | SOFT CODE | TRANSPORT CONTAINER | TEMP | SEND TO | TAT | SPECIMEN REQUIREMENTS
CSF |  |  |  |  |  | 
Culture CSF | CXCSF | Sterile container | A | MF | 4 days | 
Culture Anaerobic | CXANA | Sterile container | R | MF | 8 days | 
Culture Acid Fast | CXAF | Sterile container |  |  | 6 wks (Daily) | 
Culture Fungus | CXFUN | Sterile container | A | MF | 29 days (Daily) | 
Cryptococcal Antigen | CRYAG | Sterile container | R | MF | 2 days | 
Culture Viral | CXVIR | M5 Transport media | R | MF | 6 days | Store & Transport refrigerated
TISSUE | Actual Tissue or Bone |  |  |  |  | 
Culture Tissue | CXTIS | Sterile container | A | MF | 6 days | NO FORMALIN
Culture Anaerobic | CXANA | Sterile container | R | MF | 8 days | NO FORMALIN
Culture Acid Fast | CXAF | Sterile container |  |  | 6 wks (Daily) | NO FORMALIN
Culture Fungus | CXFUN | Sterile container | A | MF | 29 days (Daily) | NO FORMALIN
Culture Viral | CXVIR | M5 Transport media | R | MF | 6 days | Store & Transport refrigerated
BLOOD |  |  |  |  |  | 
Culture | CXBLD | GREEN/ORANGE/YELLOW(PEDI) Btls | A | MF | 6 days | Minimum volume, compare to Blood Culture Check Card
Culture Acid Fast, Blood | CXAFB | ISOLATOR TUBE(YELLOW TOP) | A | MF | 6 wks (Daily) | 
Culture Fungus, Blood | CXFNB | ISOLATOR TUBE(YELLOW TOP) | A | MF | 29 days (Daily) | 
Culture Viral, Blood | CXVBL | Lavendar Top (min. 1 ml) | A | MF | 6 days (Daily) | 
URINE |  | NO ANAEROBIC CULTURE |  |  |  | 
Culture Urine | CXURN | Sterile container/Urine Culture Transport tube | R A | MF | 1-2days (Daily) | Urine culture tube: Fill to line
S.pneumoniae Rapid Ag | SPNAG | Sterile container (min. 1 ml) | R | MF | 1 day (Daily) | 
Legionella Uninary Ag | LUAG | Sterile container (min. 1 ml) | R | MF | 1 day (Daily) | 

## Slide 13
COMMON MICRO ORDERS & SPECIMEN REQUIREMENTS
(Look behind the MICRO tab in the MedFusion manual for these pages.)
TEST NAME | SOFT CODE | TRANSPORT CONTAINER | TEMP | SEND TO | TAT | SPECIMEN REQUIREMENTS
CATHETER TIP |  |  |  |  |  | 
Culture Cath tip | CXCTP | Sterile container | R | MF | 2 days (Daily) | 
STOOL |  |  |  |  |  | 
Stool WBC | STWBC | Sterile container | A | Heme | 1 hour if STAT | Hematology Dept
Culture Stool | CXSTO | Stool Culture Transport | A | MF | 4 days | Fill to line
O&P | OP | O&P Transport Media | A | MF | 2 days (M-F) | Fill to line
Occult Blood Stool | OCCBL | Sterile cont/inoculated card | A | Coag | 1 hour if STAT | Coag Dept
Clostridium difficile Scrn | CDSCR | Sterile container | R | MF | 1 day (Daily) | Refrigerate immediately
Clostridium difficile PCR | CDFPC | Sterile container | Add-On | MF | 2 days (Daily) | 
Culture VRE | CXVRE | Feces/Anal Swab/Cary Blair Vial | A | MF | 3 days (Daily) | 
Giardia Rapid Assay | GIARD | Cary Blair Vial/O&P Kit | R/A | MF | 1 day (Daily) | 
GENITAL |  | NO ANAEROBIC CULTURE |  |  |  | 
Culture Genital | CXGEN | Blue Swab | A | MF | 2 days (Daily) | 
Group B Strep | CXGRB | Vaginal/Rectal Dual Site Swab | R | MF | 3 days (Daily) | 
THROAT | CXTHR | Red Top Swab/Blue Swab | A | MF | 2 days (Daily) | NO ANAEROBIC CULTURE
MRSA SCREEN | CXMRS | RED TOP SWAB | A | MF | 2 days (Daily) | Verify no anaerobic culture
GASTROCCULT | GASBL | Sterile container | A | Coag | 1 hour if STAT | Coag Dept
DIALYSIS WATER | CXUDI | Sterile container | ? | ? | ? | 
TRXN-Post Tube Ph1 | POST1 | Sterile container | ? | ? | ? | ???CXBTR Transfusion bag???
CHLAMYDIA AMP PROBE | CTRNA | GC/CHLAMYDIA RNA TRANSPORT | A | MF | 2 days (M-F) | 1. Verify that CULTURES were not ordered 2. URINE HAS SEPARATE TRANSPORT CONTAINER
GONORRHEA AMP PROBE | GCRNA | GC/CHLAMYDIA RNA TRANSPORT | A | MF | 2 days (M-F) |