|  |  |  |
| --- | --- | --- |
| **A1CNow Stability** | | |
|  | **QC** | **Kit** |
| **Frozen** | Until expiration on the box | N/A |
| **Refrigerated** | 180 Days | Until expiration on the box |
| **Room Temp** | 5 minutes\* | 120 Days |

\*Do not let QC warm to room temp. Place vial in fridge immediately after use.

|  |  |  |
| --- | --- | --- |
| **A1CNow Stability** | | |
|  | **QC** | **Kit** |
| **Frozen** | Until expiration on the box | N/A |
| **Refrigerated** | 180 Days | Until expiration on the box |
| **Room Temp** | 5 minutes\* | 120 Days |

\*Do not let QC warm to room temp. Place vial in fridge immediately after use.

|  |  |  |
| --- | --- | --- |
| **A1CNow Stability** | | |
|  | **QC** | **Kit** |
| **Frozen** | Until expiration on the box | N/A |
| **Refrigerated** | 180 Days | Until expiration on the box |
| **Room Temp** | 5 minutes\* | 120 Days |

\*Do not let QC warm to room temp. Place vial in fridge immediately after use.