## Slide 1: HemaTrax Unity Standalone v7.0: End-User Printing Blood Labels
This presentation is to be used in conjunction with the HemaTrax Unity Standalone v7.0: End-User Printing Blood Labels Instructional Aid created by CHRISTUS HEALTH IM Learning & Development

## Slide 2: Introduction
HemaTrax Unity, a Digi-Trax Corporation on-demand labeling system, can be used to print the full range of ISBT-128 labels that meet the ICCBBA U.S. Consensus Standards. The standalone version of HemaTrax is installed directly on a designated workstation in the blood bank to allow for blood product label printing when either MEDITECH or the HemaTrax print servers are unavailable.

## Slide 3: Getting Started

## Slide 4
SPN Note:
ALWAYS use barcode scanner

## Slide 6: Quadrant I

## Slide 9: Quadrant II

## Slide 11: Quadrant III

## Slide 15: Quadrant IV

## Slide 17: QIV Special Testing Buttons
SPN Note:
Special Testing: General (NCodes) is the ONLY button used in the SPN region

## Slide 20
SPN Note:
Since the next 3 buttons are NOT used in the SPN region, we will skip the remaining portion of the QIV Special Testing Buttons section (steps 5-19).
Special Testing: Red Blood Cell Antigens (012)
Special Testing: Platelet HLA and Platelet Specific Antigens (014)
Special Test Message (No Bar Code)

## Slide 21: Clear Quadrant Data

## Slide 22: Printing the Label

## Slide 25: Questions?