## Chemsitry - not on line
Lutheran Hospital of Indiana
Laboratory: Chemistry Department
7950 W. Jefferson Blvd.
Fort Wayne, 46804
Name:__________________________________ |  |  |  | CHEMISTRY NON-LINE COMPETENCY
Position_________________________________ |  | Year______________________ | [5 empty] | version: | 2020-05-28
Type: 6 months_________ |  | Annual_______ Recheck_________
Instructions for evaluator:
Observe each critical step for the skill or competency. Each step must be observed. Record date, method used to competency and the competency rating for the skill. Sign your name and initials on the last page of the assessment. During the year, EACH validation method must be documented and dated.
Competency/Skill Validation Method Key |  |  | Validation Rating Key
A | Direct observation of routine patient test performance, including patient preparations, if applicable, and specimen collection, handling, processing, and testing. |  | C | Competent: Performs independently
|  |  | E | Expert: Performs independently, teaches and assesses the competency of others
|  |  | NA | Not applicable to the skill or task
B | Review of intermediate test results or worksheets, quality control, proficiency testing, and preventive maintenance performance. |  | NR | Not required for the associate
C | Monitoring, recording, and reporting of test results.
D | Direct observation of performance of instrument maintenance function checks and calibration.
E | Test performance: previously ran specimens/ blind samples / proficiency samples/ testing samples
F | Problem solving skills as appropriate to job
CRITICAL SKILLS
Architect |  |  |  | Validation Method | A | B | C | D | E | F
● Performs test properly |  |  |  | Validation Rating
● Interprets test results
● Performs and evaluates QC |  |  |  | Evaluator Initials
● Performs and evaluates Calibrations
● Recognizes critical call result values |  |  |  | Date
● Discuss use of Instrument Corrective Action/Service Log
Rapidpoint 500 |  |  |  | Validation Method | A | B | C | D | E | F
● Entering patient identification |  |  |  | Validation Rating |  |  |  | N/A
● Discuss wash/waste and measurement cartridge changes
● Demonstrates proper knowledge of instrument error messages |  |  |  | Evaluator Initials |  |  |  | N/A
● Evaluate ampule QC
● Proper performance, recording and review of patient test results |  |  |  | Date |  |  |  | N/A
● Ability to take appropriate action for failed QC results
● Discuss use of Instrument Corrective Action/Service Log
Osmometer |  |  |  | Validation Method | A | B | C | D | E | F
● Performs and evaluates Standard, QC, and Patient Test |  |  |  | Validation Rating |  |  |  | N/A
● Discuss use of Instrument Corrective Action/Service Log
● Perform / Discuss pipette calibration |  |  |  | Evaluator Initials |  |  |  | N/A
● Ability to take appropriate action for failed QC results
● Demonstrates / Discuss proper procedure for notification of critical values |  |  |  | Date |  |  |  | N/A
● Proper recording and review of test results.
Sweat Chloride |  |  |  | Validation Method | A | B | C | D | E | F
● Demonstrates proper specimen collection |  |  |  | Validation Rating |  |  |  | N/A
● Sucessfully perform testing as demonstrated by obtaining QC results within established limits
● Performs calculations to obtain valid results |  |  |  | Evaluator Initials |  |  |  | N/A
● Perform and evaluate QC
|  |  |  | Date |  |  |  | N/A
Manual Test: Qualitative hCG and Rom |  |  |  | Validation Method | A | B | C | D | E | F
● Performs test properly |  |  |  | Validation Rating |  |  |  | N/A
● Able to interpret test results
● Performs kit lot to lot comparisons as needed |  |  |  | Evaluator Initials |  |  |  | N/A
● Performs and evaluates QC
● Proper notification of critical results |  |  |  | Date |  |  |  | N/A
New Born Screen |  |  |  | Validation Method | A | B | C | D | E | F
1. Record and mail out new NBS’s |  |  |  | Validation Rating |  |  |  | N/A
2. Scan results of NBS in LIS.
3. Hepatitis/HIV faxing of results |  |  |  | Evaluator Initials |  |  |  | N/A
|  |  |  | Date |  |  |  | N/A
Maintenance Duties as defined by: Daily, Weekly, Monthly and / or As Needed:
| Not Applicable |  | Performs Adequately
| Architect |  | Architect
| RapidPoint 500 |  | RapidPoint 500
| Osmometer |  | Osmometer
| Immulite / Versacell |  | Immulite / Versacell
I have read the following procedure manuals, as applicable to my training and competency:
| General Chemistry and Downtime |  | Sweat Chloride
Architect Assay
Manual Tests Hcg, Rom, Osmo
| Action Plan for Correction of Competency Deficiencies: |  |  |  | Written Tests
|  |  | (Check all that apply) |  |  |  | Score: | Passing: |  | P / F
|  |  | Rapidpoint 500 |  |  |  | % | > 95% |  | P / F
|  |  | Architect - Immunosuppressants/MTS |  |  |  | % | > 95% |  | P / F
|  |  | Sweat Chloride - Collection |  |  |  | % | > 95% |  | P / F
|  |  | Sweat Chloride - Measure |  |  |  | % | > 95% |  | P / F
[7 empty] | % | >95% |  | P / F
I have been adequately trained and am competent to work in Chemistry.
| Employee Signature: |  |  |  | Date
| Tech Coordinator signature:____________________________________________ |  |  |  | Date
| Supervisor/Manager signature:___________________________________________________ |  |  |  | Date
The employee listed above has been given authority to perform the tests and tasks for which they have been deemed competent
| Laboratory Medical Director signature:___________________________________ |  |  |  | Date