## OCB Recert
POC Fecal Occult Blood Annual Recertification
Co-worker Name: | [5 empty] | DATE
I have read the procedure (Occult Blood in Stool) □
Learning Assessment: The Co-Worker must pass with a score of 100% . | [5 empty] | SCORE
True/False
1. Hemoccult may be used with gastric samples.
Multiple Choice
1. Hemoccult may be used with gastric samples.
2. The Hemoccult cards and developers may be used beyond the expiration date if the (+) and (-) internal controls perform as expected.
3. The on-board QC results must be documented in MRE with the patient results, along with the lot number of the card.
4. Slides and developer for Hemoccult should be stored at room temperature.
5. A patient test is read as positive if any trace of blue color is seen in the test area.
Multiple Choice
6. After application of the sample you must wait ________________ before developing the test
a. 10 seconds
b. 3-5 minutes
c. 5-10 minutes
d. 60 seconds
7. The (+) and (-) performance monitors are read:
a. Within 10 seconds
b. Within 60 seconds
c. Within 3-5 minutes
d. Once per day
8. The patient test area must be read:
a. Within 10 seconds
b. Within 60 seconds
c. Within 3-5 minutes
d. Within one hour
9. Which of the following may cause a false positive result?
a. Red meat
b. Aspirin
c. Antiseptics containing iodine
d. All of the above
10. How many drops of developer should be placed on each test area?
a. One drop
b. Two drops
c. Three drops
POC office only |  | # of Tests Performed |  |  | QC Performed |  | Observation
Results entered in QML on __________ |  |  |  | by