PROBLEM SOLVING

- When testing samples for Flu A/B using the Veritor method, what is the most likely cause of an invalid result?

- Interfering substances

- The reader detects a dual positive (both A and B are positive)

- Deterioration of kit reagents

- If an invalid Flu result is obtained, what should you tell the provider?

- Collect and submit another sample

- Testing cannot be performed at this time

- Treat the patient if the patient is symptomatic

- An invalid Flu result is obtained after testing two separate samples on the same patient. The clinician would like you to recommend a course of action. What do you suggest?

- Send the patient to another hospital or clinic

- An alternate testing method, such as molecular testing at our reference lab, may be indicated

- Call the pathologist for further guidance

- True or False:  For RSV testing, nasopharyngeal washes and aspirates have been shown to be superior to nasopharyngeal swabs, and are the specimens of choice.

- True

- False

- True or False- Blood cultures with pending orders should be refrigerated until the order is received.

- TRUE

- FALSE

- The anaerobic pouch system (small sachet) can accommodate how many plates per pouch?

- One to four plates

- One to five plates

- One to six plates

- What are the specimen stability requirements for fecal leukocyte testing?

- Up to 2 hours, refrigerated

- Up to 4 hours refrigerated

- Up to 24 hours refrigerated

- What are the specimen stability requirements for Helicobacter pylori testing?

- Up to 72 hours, refrigerated

- Up to 48 hours , refrigerated

- Up to 24 hours, refrigerated

- The following specimens are acceptable for anaerobic culture:

- Supra pubic bladder aspirate

- Trans tracheal aspirate

- Bile

- All of the above

- a. and c. only

- The laboratory routinely cultures stool for the presence of which organisms?

- Salmonella, Shigella, Campylobacter and E. coli 0157.

- Yersinia and Vibrio

- Norovirus and Rotavirus