Winchester Hospital

Laboratory Collection Station

TEMPERATURE CHART

Location: _Hospital Processing Area______________

Month:	__April______________

Year:____2015_______________

Range:	2° C to 8° C

DAY	TEMPERATURE	TECH/PHLEB	COMMENTS/ACTIONS
1	6	AA
2	6	BB
3	5	CC
4	4	AA
5	3	CC
6	2	BB
7	10	AA
8	9	CC
9	10	AA
10	11	AA
11	11	CC
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31

ANY TEMPERATURE READINGS <2 OR >8 REQUIRES DOCUMENTATION OF CORRECTIVE ACTION AND RE-CHECKED THAT DAY TO INSURE THE TEMP IS IN RANGE.