# Rubella-Plus (Clearview) Competency Quiz

- There are two internal controls for this kit, a clear background and line present in control area.

True		False

- Kits and samples do not have to come to room temperature.

True		False

- 3 or 4 drops of developer are added to the Developer Well(D).

True		False

- Only one level of control needs to be run.

True		False

- Results should be read and recorded after 15 minutes.

True		False

- Results are stable for up to 30 minutes.

True		False

- 50 µl of sample or control should be used.

True		False

- A color band in the Test Window (T) but no color band in the Control Window (C) is an invalid test.

True		False

- Kits are good until the expiration date on the box.

True		False

- The patient normal reference range for rubella is immune.

True		False

## Name:_______________________________________  Date:____________________

Operator ID #: _________________________  Unit/Location____________________

Score__________________  Reviewed by:____________________________________