# NAME:_____________________________________   DATE:_______________DEPT:                                  .

# Overview

- The OC-Light test is specific for human hemoglobin.

- It is an immunological and immunochemical test that is not affected by medications or diet.

- The test has been approved as a screen for colon cancer on only one sample.  There is no need to collect 3 samples anymore.

- There is a 5 minute incubation period once the test strip has been inserted into the sample vial.

# Quality Control

- QC is included on each test strip.

- A line at the control region must be present for the test to be valid.

- The control must be documented with each patient result.  You can comment  “QC OK” or “internal control OK” or “IC OK”.

- If the internal control is not visible, the test must be repeated with a new test strip.  You may use the same sample vial.

Results:

- Read the test strip at 5 minutes.

- If  two lines are present the result is positive, QC OK.

- If one line is present, the result is negative, QC OK.

- If no lines are present, the test must be repeated with a new test strip.

- A positive result may be read at less than 5 minutes incubation as long as the internal control line is present.

- A negative result must incubate for the entire 5 minute incubation period prior to calling the result negative.

Please review the lab procedures in the BDH organization-wide Policies and Procedures manual.  This manual may also be found in SharePoint under the Policies and Procedures tab.  You will be asked to locate these procedures by an inspector.

## Occult Blood for Stool Recertification Exam

1.   True     False      The fecal occult blood test has many dietary and drug restrictions.

2.   True     False      The fecal occult blood test is specific for human hemoglobin.

3.   A negative result must be read at                      minutes of incubation.

4.   How many lines must present for a result to be considered positive?                              .

5.   The                                            line must be present in order for the test to be considered valid.

DDE 5/2012