A. Enter patient ID

B. Select #1

C. Gently mix specimen transport tube

D. Select Main Menu (esc if not there)

E. Enter User ID and press enter

F. Click cassette into place and press enter

G. Pipette 200uL into sample well and press enter

H. Remove cassette from foil pack and insert into analyzer

I. Enter cassette lot# and press enter

J. Express as much liquid as possible by rolling swab against inside of tube.