## Slide 1
USA Chart BUFFALO Pathology & Laboratory Medicine
CODE / PHONE | DESCRIPTOR | UNIVERSAL ACTIONS | UNIT SPECIFIC ACTIONS
CODE BLUE (MEDICAL) x2222 | CARDIAC ARREST | Cardiac arrest team respond to designated location. | If Code Blue is in Lab area ensure are is clear for responding team.
 | RAPID RESPONSE | Rapid Response team respond to designated location. | 
 | RAPID RESPONSE-STROKE | Stroke team respond to designated location. | 
 | RAPID RESPONSE-AIRWAY | Airway team respond to designated location. | 
CODE RED (FIRE) x3333 | FIRE | RACE - Rescue, Alarm, Contain, Evacuate Area in Alarm: Strobes flashing and no location announcement indicates area in alarm. Defend in place or evacuate as appropriate. | If strobe lights are flashing: Take immediate action. Follow the RACE procedure. 2B, 2E Labs: See evacuation procedure located by the evacuation stairwells. Out Patient Lab: See evacuation procedure located by the MSDS book. Stay in place for all other Code Red announcements.
CODE YELLOW (SECURITY) x5555 | LOCKDOWN | Lock Area. Evacuate (Run), Evade (Hide), Engage (Fight) | Move staff, patients and visitors from corridors and open areas to nearest rooms with doors. Lock or barricade doors.
 | MISSING PATIENT | Check email for description. Search Area of Responsibility | Follow Universal Action
 | MISSING CHILD | Check email for description. Search Area of Responsibility | Follow Universal Action
 | BERT | BERT team respond to designated area. | Follow Universal Action
CODE GREEN (FACILITY) x6666 | INTERNAL EMERGENCY |  | 
 | HAZMAT | Remove all personnel and patients from affected areas. Keep exposed personnel and patients together but segregate from others. Secure Area | Follow Universal Action
 | FLOOD | Safeguard personnel and patients; limit impact with available materials; unplug electrical equipment if safe to do so. | Follow Universal Action
 | UTILITY FAILURE (TYPE) | Implement unit or department contingencies as appropriate to minimize impact. | Follow Universal Action
 | COMPUTER OUTAGE (TYPE) | Implement medical records treatment contingency protocols as appropriate. (CM 11-86) | Follow Laboratory Contingency Plan.
 | MASS CASUALTY | Await further instructions from the Incident Command Center. | Assess Blood Bank inventory, Morgue census and availability of phlebotomy staff. See department copy of the Emergency Preparedness Plan for detailed instructions. BB staff refer to the BB SOP for Emergency Response.
 | EXTERNAL EMERGENCY |  | 
 | HAZMAT | Remove all personnel and patients from affected areas. Keep exposed personnel and patients together but segregate from others. Secure Area | Follow Universal Action
 | WEATHER EMERGENCY | Check email for information / Prepare Department Status Report and provide to the Incident Command Center as requested. | Follow Universal Action
Date: 6/18