Approved By: __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date Annual Review/ Revision: __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date __________________________________ ______________ ___________________________________ ______________ Laboratory Medical Director Date General Manager Date

PRINCIPLE:

The Medica Pro System provides a constant supply of purified water to meet the needs of the clinical analyzers in the laboratory. The system incorporates a storage reservoir, RO, DI purification, UV photo-oxidation and ultra microfiltration technologies.

PROCEDURE:

The Medica Pro Sytem runs continuously to provide DI water for the chemistry analyzers. A small on the front of the unit monitors the performance of the system.

Disinfecting of the system is performed monthly-instructions are located in the users manual.

Additional scheduled service and/or maintenance is performed by the distributor.