Operation switch

B Sample/reagent area

C Measuring area

D Consumables and liquid waste area

E Main circuit breaker (hidden)

A                         B                                      C                                                            D

Operation Switch

Sample/reagent area

Measuring area

Consumables and liquid waste area

A Status line B Online Help

C Guidance prompt (no message displayed) D Global buttons