|  | PURPOSE: Process and interpret Antibody to Hepatitis B Surface antigen test results according to this flowchart. See package insert for additional information. SCOPE: This policy applies to UPMC Hanover, UPMC Carlisle. |
| --- | --- |
| A result of < 8.00 mIU/mL indicates a sample that is Nonreactive for a-HBs; A result of  8.00 and < 12.00 indicates a sample that is GrayZone and requires repeat testing for a-HBs.; A result of  12.00 mIU/mL indicates a sample that is Reactive for a-HBs. No Immunity No Further testing required Protective Immunity No Further testing required Respin specimen Retest in Duplicate. If 2 of 3 results are < 8.00 the sample is Nonreactive for a-HBs.; If 2 of 3 results are  8.00 & < 12.00 the sample is Grayzone; If 2 of 3 results are  12.00 the sample is Reactive for a-HBs. No Immunity No Further testing required Protective Immunity No Further testing required. Release as >1000 Grayzone result: Suggest recollection in 2-4 weeks. With Comment: Anti-HBs level present is not consisitant with immunity... |
|  | Reference: |
|  | Abbott Laboratories, Abbott Park IL, USA, Alinity Anti-HBs Reagent Sheet EN REF G91879R02/ B7P8RE, June 2019. |

Document History

| Date of Origination and Document Control Number |  | June 1 2023 |
| --- | --- | --- |
|  |  | Prepared by: Marilee K Klunk, MT(ASCP) |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |