|  | PURPOSE: Process and interpret Hepatitis B Surface Antigen test results according to this flowchart. See package insert for additional information. SCOPE: This policy applies to UPMC Hanover, UPMC Carlisle. |
| --- | --- |
| A result of < 1.00 indicates a sample that is Nonreactive for HBsAg; A result of  1.00 indicates a sample that requires repeat testing for HBsAg.. No Further testing required Respin specimen Retest in Duplicate. If 2 of 3 results are < 1.00 the sample is Negative for HBsAg; If 2 of 3 results are  1.00 the sample is repeatedly reactive; Result as Preliminary Reactive- Confirmatory Test Added. No Further testing required |
|  | Reference: |
|  | Abbott Laboratories, Abbott Park IL, USA, Alinity HBsAg Qualitative II Reagent Sheet EN REF G91913R01/ B8P10E, January 2020. |

Document History

| Date of Origination and Document Control Number |  | June 1 2023 |
| --- | --- | --- |
|  |  | Prepared by: Marilee K Klunk, MT(ASCP) |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |
| Revision History/ Biennial Review: |  |  |