## Intro
Point of Care Testing Annual Competency Assessment
Instructions:
1. Give a quiz packet to each employee and have them answer the questions.
2. Choose one additional way to demonstrate competency, and document it on the bottom half of the
quiz for each test performed:
a. Record a date when the staff previously performed QC for each Waived test performed in the clinic.
(must be on QC log to count).
b. Perform QC on the test now (must record on the QC log) and document today's date
c. Have the Qualified Clinical Designee observe staff performing QC or routine testing and they can sign
and date that they have observed and testing was acceptable.
3. Write staff name, clinic name, and date on the bottom of each quiz.
4. Give all completed quizzes to the Practice Manager to keep in the envelope until all MA's in the
clinic have completed.
5. Email or fax the results to me at 517-975-7013 (contact me prior to sending so I can watch
for them-multiple people use fax)
6. Must be completed by___________________
Thank you for your assistance with this! Please call or email if you have any questions.
Diane Hagerman, MT (ASCP)
Phone: 517-975-7032 or 517-612-9557 (cell)
Email: diane.hagerman@mclaren.org

## Nova Glucose
Nova Stat Strip Xpress Glucose
Circle the correct answer.
1 | Two levels of control must be performed each day of patient testing | TRUE | FALSE
2 | Glucose Control expires _________ after opening. | 1 month | 3 months | 180 days
3 | When performing a blood glucose, it is necessary to disgard or wipe | TRUE | FALSE
away the first drop of blood before obtaining the blood sample?
4 | Test strips should be stored with the cap open for easy access. | TRUE | FALSE
5 | If the meter looks clean, you don't need to clean it in between patients. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: ___________________________ Date:_______
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Hemocue Glucose
Hemocue Glucose
Circle the correct answer.
1 | Two levels of control must be performed each day of patient testing | TRUE | FALSE
2 | Glucose Control expires _________ after opening. | 1 month | 3 months | 180 days
3 | When performing a blood glucose, it is necessary to disgard or wipe | TRUE | FALSE
away the first drop of blood before obtaining the blood sample?
4 | When a cuvette is removed from the refrigerator, the expiration date stays the same. | TRUE | FALSE
5 | Start the glucose measurement within 40 seconds of filling the cuvette. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _________________________ Date:_________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Hemocue Hgb
Hemocue Hemoglobin
Circle the correct answer.
1 | Two levels of control must be performed each day of patient testing | TRUE | FALSE
2 | Hemocue Hemoglobin Control expires ______ after opening. | 1 month | 3 months | 180 days
3 | When a patient has a critical hemoglobin value, testing personnel need to notify the provider and document it. Circle the critical result. | 6.2 | 8.6 | 10.1
4 | After a cuvette is filled, hemoglobin measurement must be started within 10 minutes. | TRUE | FALSE
5 | It is acceptable to clean the cuvette holder with water, alcohol, or Hemocue cleaner as it becomes dirty. | TRUE | FALSE
6 | Controls must be recorded on the control log and be within range to be considered performed and valid. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _________________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## INR Coaguchek XS
Coagucheck XS
Circle the correct answer.
1 | Each test strip contains a built-in quality control check. | TRUE | FALSE
2 | You have 3 minutes to add a drop of blood once the flashing drop of blood is displayed. | TRUE | FALSE
3 | Test strips must be used within 10 minutes of removing them from the vial. | TRUE | FALSE
4 | The code chip must match the the test strip being used. | TRUE | FALSE
5 | Wipe away several drops of blood before applying blood to the test strip. | TRUE | FALSE
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: ______________________ Date:_________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Hgb A1C
DCA Vantage A1C
Circle the correct answer.
1 | External controls are not used or performed because there is an internal control . | TRUE | FALSE
2 | A1C Control expires ________ after reconstitution. | 1 mo | 3 mo | 180 days
3 | A1C Measurement must be started within ________ after collection. | 1 min | 5 min | 10 min
4 | Test cartridges can be stored at room temperature or refrigerated. | TRUE | FALSE
5 | A box of cartridges has an expiration date of 3 months after it is removed from the refrigerator and stored at room temperature. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: ________________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Sofia 2
Influenza A/B
Circle the correct answer.
1 | The Sofia 2 test kits need to be stored at 15°C to 30°C (room temp) | TRUE | FALSE
2 | The Sofia 2 test kit expires on the expiration date on the box. | TRUE | FALSE
3 | The Sofia 2 Calibration Check must be performed every 120 days. | TRUE | FALSE
4 | The Sofia 2 "Positive" QC swab will give a positive result for only Influenza A. | TRUE | FALSE
5 | A test that is positive for both Influenza A and B is considered invalid and should not be reported. It should be sent out for | TRUE | FALSE
confirmation.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Flu
Influenza A/B
Circle the correct answer.
1 | There is a control line on each strip, therefore controls do not need to be performed on a newly opened kit. | TRUE | FALSE
2 | The kit expires on the box expiration date. | TRUE | FALSE
3 | The Influenza A/B test strip is read at _________. | 1 min | 5 min | 10 min
4 | The Internal Control is recorded as "PASS" or "FAIL" on the patient log. | TRUE | FALSE
5 | A test that is positive for both Influenza A and B is considered invalid and should not be reported. It should be sent out for | TRUE | FALSE
confirmation.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Mono
Mono
Circle the correct answer.
1 | A Positive and Negative Control must be performed on each box. | TRUE | FALSE
2 | The Internal Control must be visible for the test to be valid. | TRUE | FALSE
3 | Record of the Internal Control if passed/failed is documented on the patient log. | TRUE | FALSE
4 | The test kit is good for 6 months if stored in the refrigerator. | TRUE | FALSE
5 | The specimen used for testing is whole blood only. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Strep
Strep A
Circle the correct answer.
1 | One positive and one negative quality control needs to be performed | TRUE | FALSE
on each kit when opened.
2 | The internal control line must be documented as "PASS", or "FAIL" on the patient log. | TRUE | FALSE
3 | After the test strip is added, read the test after _______ minutes. | 1 min | 5 min | 10 min
4 | This kit is approved for Group A testing from a swab on any body source. | TRUE | FALSE
5 | If the test strips are depleted in the kit, the left over reagents can | TRUE | FALSE
be transferred and used in the next opened same lot# of kit.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## UPreg
Urine Pregnancy
Circle the correct answer.
1 | The result is valid as long as you read it within one hour. | TRUE | FALSE
2 | The internal control line must be documented as "PASS" or "FAIL" on the patient log. | TRUE | FALSE
3 | This test is able to detect as low as 25mIU/ml of hCG. | TRUE | FALSE
4 | The only specimen that can be used with this kit is urine. | TRUE | FALSE
5 | A positive and negative control needs to be performed when opening a new kit and every 30 days on in-use kits. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Clinitek
Clinitek Urinalysis
Circle the correct answer.
1 | Two levels of Quality Control must be performed when opening a new vial of test strips. | TRUE | FALSE
2 | Weekly and monthly maintenance must be performed on the Clinitek and documented on the Clinitek maintentance log. | TRUE | FALSE
3 | Quality Control needs to be performed after weekly and monthly maintenance. | TRUE | FALSE
4 | The lot number of test strips needs to be entered into the Clinitek with each new lot of teststrips so it is documented on the result print off (or written on the patient log if you don't have a Clinitek Status +) | TRUE | FALSE
5 | Two patient identifiers should be written on the urine sample cup in the presence of the patient. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Uristix V
Uristix
Circle the correct answer.
1 | Quality Control for Uristix visual testing is performed when a new bottle is opened and every 30 days. | TRUE | FALSE
2 | Uristix test strips may be stored in the bathroom so patients can do their own testing. | TRUE | FALSE
3 | Uristix results do not need to be recorded on the patient log or in the computer, because the provider just needs a quick result. | TRUE | FALSE
4 | The QC material used for Uristix testing is the same QC material that is used with the Multistix 10SG teststrips on the Clinitek instrument. | TRUE | FALSE
5 | The tests included on the Uristix test strip are glucose and ketones. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## U MA
Urine Microalbumin
Circle the correct answer.
1 | Two levels of Quality Control must be run each day of patient testing. | TRUE | FALSE
2 | Microalbumin is a form of protein. | TRUE | FALSE
3 | Siemen Microalbumin test strips must be performed on a Clinitek Status analyzer and cannot be read visually. | TRUE | FALSE
4 | Microalbumin test strips detect albumin and glucose. | TRUE | FALSE
5 | An Albumin:Creatinine ratio is part of the microalbumin measurement. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Staff Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Staff Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## RSV
RSV
Circle the correct answer.
1 The RSV kit is stable until the expiration date printed on kit box |  | TRUE | FALSE
2 Insufficient volume of specimen caused by air bubbles in the lower |  | TRUE | FALSE
shaft of the pipette can cause invalid results.
3 It is ok to mix components from different kit lots. |  | TRUE | FALSE
4 The RSV kit is stored in the refrigerator at 2-8°C |  | TRUE | FALSE
5 The RSV kit contains a Positive and Negative quality control swab which |  | TRUE | FALSE
are tested with each opened box to ensure the test reagents are working
and the test is performed correctly.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:_______________________ Staff Initials: __________________________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature:______________________________ Date:________
STAFF NAME:______________________________________________________________
CLINIC NAME: _______________________________________________________________
DATE:________________________________

## COAGSENSE
COAGSENSE
Circle the correct answer.
1 Apply sample to the meter within 2 1/2 minutes of fingerstick collection. |  | TRUE | FALSE
2 Wipe away several drops of blood before applying blood to the meter. |  | TRUE | FALSE
3 The meter measuring range for INR is 1.5-8.0. |  | TRUE | FALSE
4 Opened control activation solution may be used until the expiration |  | TRUE | FALSE
date on the bottle
5 The CoagSense meter is not recommeded for patients who are on |  | TRUE | FALSE
heparin anticoagulants.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:_______________________ Initials: __________________________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature:___________________________________ Date:________
NAME:______________________________________________________________
CLINIC NAME: _______________________________________________________________
DATE:________________________________

## HEMOPOINT H2
HemoPoint H2
Circle the correct answer.
1 | The Alere Hemopoint H2 Autocheck performs an internal check | TRUE | FALSE
of the meter's optic system every time the Microcuvette
holder is opened.
2 | The Alere Hemopoint H2 Microcuvette sample can be tested immediately or within 10 minutes of filling with blood. | TRUE | FALSE
3 | The Hemopoint H2 Control Cuvette is used for a simple check of the meter's calibration. | TRUE | FALSE
of the meter's calibration.
4 | Topping off the microcuvette with additional blood, if not filled | TRUE | FALSE
filled completely, is acceptable.
5 | Wipe away the first drop of blood before filling the microcuvette with blood. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:___________________ Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature:_______________________________ Date:________
Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________

## Evencare Glu
EVENCARE G2 GLUCOSE
Circle the correct answer.
1 Evencare G2 meter needs to be calibrated or coded. |  | TRUE | FALSE
2 Error codes and troubleshooting guidelines can be found in the EvenCare G2 |  | TRUE | FALSE
User Guide or by calling EvenCare Customer Support
3 The EvenCare G2 meter measuring range for Glucose is 20-600 mg/dl |  | TRUE | FALSE
4 EvenCare Glucose test strips expire 6 months after opening. |  | TRUE | FALSE
5 When performing a control, you should apply the control directly from the |  | TRUE | FALSE
bottle to the test strip.
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received acceptable results:
Date performed:_______________________ Initials: __________________________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature:______________________________ Date:________
NAME:______________________________________________________________
CLINIC NAME: _______________________________________________________________
DATE:________________________________

## BNP Triage
BNP Triage Meter
Circle the correct answer.
1 | Two levels of External Quality Control must be performed when opening a new box of test material and every 30 days. | TRUE | FALSE
2 | The BNP Triage System QC Device is only used when the external QC is out of range. | TRUE | FALSE
3 | The Triage BNP meter is a CLIA waived system for whole blood use only. | TRUE | FALSE
4 | The Triage BNP meter is calibrated with each new lot of reagent using the Reagent Code Chip. | TRUE | FALSE
5 | The BNP linearity or test range on the meter is 20-5000 pg/ml. | TRUE | FALSE
Choose one of the following ways to show competency performing this test:
Quality Control
I performed Quality Control for this test on the following date, and received
acceptable results.
Date performed:___________________ Initials: ______________
-OR-
Direct Observation
I observed the employee performing routine testing, and performance was acceptable.
Qualified Clinical Designee's Signature: _______________________ Date:________
Name: _________________________________________________________
Clinic Name:___________________________________________________
Date: _______________________