## Slide 1: QC MANAGEMENT
~What to do when it doesn’t work

## Slide 2: Help! My QC is out
Now what?

## Slide 3: Review Statistics for the analyte
One level trending
Only one level trend
Both levels trend
Is the other level trending?
No
Is the other level trending?
Yes
Replace or remix QC material
Repeat QC
Recalibrate and repeat QC
Looks like a trend…

## Slide 4: Upon Further review…
Remix or replace QC material
Repeat QC
No apparent trends

## Slide 5: This qc is WAY out!
What is going on?

## Slide 6: Look elsewhere for the cause
Incorrect or outdated calibrator or QC material
Missing part of the calibrator
Mechanical error from the analyzer